## Attachment-3
Attachment-3: Materials for daily maintenance
No. | CMMS Code | Short Description | Long Description | UOM | TYPE | Total Installed Quantity | Quantity Order | Balance
1 | 2030559172 | TEE, STRAIGHT CROSS, 6X6IN, XXS, A403-WP316, CLASS S DUAL GRADE, SMLS, ASME B16.9, BW | TEE, STRAIGHT CROSS, 6X6IN, XXS, A403-WP316, CLASS S DUAL GRADE, SMLS, ASME B16.9, BW | PC | PIPE | 4 | 4 | 0
2 | 2010757486 | REDUCER, CONCENTRIC, 6X3IN, XXS, A403-WP316, CLASS S DUAL GRADE SMLS, ASME B16.9, BW | REDUCER, CONCENTRIC, 6X3IN, XXS, A403-WP316, CLASS S DUAL GRADE SMLS, ASME B16.9, BW | PC | PIPE | 4 | 4 | 1
3 | 2010757487 | REDUCER, ECCENTRIC, 6X3IN, XXS, A403-WP316, CLASS S DUAL GRADE SMLS, ASME B16.9, BW | REDUCER, ECCENTRIC, 6X3IN, XXS, A403-WP316, CLASS S DUAL GRADE SMLS, ASME B16.9, BW | PC | PIPE | 4 | 4 | 1
4 | 2030559173 | TEE, STRAIGHT, 6X6IN, XXS, A403-WP316, CLASS S, SMLS, ASME B16.9, BW | TEE, STRAIGHT, 6X6IN, XXS, A403-WP316, CLASS S, SMLS, ASME B16.9, BW | PC | PIPE | 6 | 6 | 1
5 | 2000501672 | REDUCER, CON REDUCER, 6 X 3, XXS-XXS, ASTM A403, GR WP304H, CLASS S, SMLS, ASME B16.9 BW, P27J-007A8 | REDUCER, CONCENTRIC REDUCER, 6 X 3, XXS-XXS, ASTM A403, GRADE WP304H, CLASS S, SEAMLESS, ASME B16.9 BW, P27J-007A8 | PC | PIPE | 1 | 1 | 0
6 | 2000501680 | FLANGE, REDUCING FLANGE, 3IN, 300#, RF B16.5, 2IN WN, 38.1 ID, A182 F316/ A182 TP 316 | FLANGE, REDUCING FLANGE, 3IN, 300#, RF B16.5, 2IN WN, 38.1 ID, A182 F316/ A182 TP 316 | PC | PIPE | 6 | 6 | 1
7 | 2030558569 | PIPE,METALLIC,ASTM A182 GRADE F316/ A312 GRADE TP316,SEAMLESS,BEVEL END (BE),XXS,2IN,FINNED PIPE | PIPE,METALLIC,MATERIAL:STAINLESS STEEL,MAT, SPEC: A312 GRADE TP316,SERVICE:NON-SOUR,DIMENSIONAL SPEC:ASME B36.10M/B36.19M,MANUFACTURING PROCESS:SEAMLESS,END PREPARATION:BEVEL END (BE),INSPECTION, CERTIFICATE:EN 10204 -3.1, ISO 10474 -3.1,DIAMETER, OD:AS PER DESIGN,LENGTH:SRL,MASS:AS PER DESIGN,SCHEDULE NUMBER:XXS,SIZE:2IN,ADDITIONAL INFORMATION:FINNED PIPE WITH STAINLESS STEEL FINS, SERRATED HELICAL TWISTED FIN, SPACE 5MM, FIN HEIGH 1IN, 2IN LENTH BARE PIPE AT 2 END,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | M | PIPE | 60 | 60 | 0
8 | 2093900004 | PIPE, 8IN, XXS, SEAMLESS, ASTM A106 GRADE B, ASME B36.10M/B36.19M, LICENSOR-1, BE, P01A-0078J | PIPE, 8IN, XXS, SEAMLESS, ASTM A106 GRADE B, ASME B36.10M/B36.19M, LICENSOR-1, BE, P01A-0078J | M | PIPE | 30 | 30 | 0
9 | 2001401104 | BOLT AND NUT, 1.125IN, L175MM, ASTM A193 GRADE B7 / A194 GRADE 2H ASME B1.1 8UN, 2HHN, P80S-0046S | STUD BOLT, WITH NUT, MAT SPEC, STUD BOLT(S):ASTM A193 GRADE B7, MAT SPEC, NUT(S):ASTM A194 GRADE 2H, DESIGN SPEC, NUT:ASME B18.2.2, DESIGN SPEC, THREAD:ASME B1.1, THREAD CLASS SYMBOL, STUD BOLT:CLASS 2A, THREAD CLASS SYMBOL, NUT:CLASS 2B, TYPE OF THREAD:ASME B1.1 SERIE 8UN, TYPE, NUT:UN HEAVY HEXAGONAL, NUMBER, NUTS PER STUD BOLT:2 NUTS, LENGTH:175MM, SIZE:1.125IN, NSRP IDENT CODE:P80S-0046S, QA/QC DOCUMENT REQUIRED:CO/CQ/ MTC | SET | PIPE | 260 | 208 | 77
10 | 2030300109 | REDUCER,CONCENTRIC,BUTT-WELD,ASTM A420 GRADE WPL6,XXS,XXS,12IN,8IN,P27A-00G3G | REDUCER,PIPE,CONCENTRIC,BUTT-WELD,DESIGN SPEC:ASME B16.9,MATERIAL:CARBON STEEL,MAT SPEC, BASE MATERIAL:ASTM A420 GRADE WPL6,MANUFACTURING PROCESS:SEAMLESS,SERVICES:NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1/ ISO 10474 -3.1,SCH1:XXS,SCH2:XXS,THICKNESS ,WALL:AS PER DESIGN,LENGTH:AS PER DESIGN,SIZE 1:12IN,SIZE 2:8IN,NSRP IDENT CODE:P27A-00G3G,ADDITIONAL INFORMATION:LICENSOR-1,QC/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 1 | 1 | 0
11 | 2030300110 | REDUCER,ECC,BW,ASTM A420 GRADE WPL6,XXS,XXS,12IN,8IN,P28A-00D9R | REDUCER,PIPE,ECCENTRIC,BUTT-WELD,DESIGN SPEC:ASME B16.9,MATERIAL:CARBON STEEL,MAT SPEC, BASE MATERIAL:ASTM A420 GRADE WPL6,MANUFACTURING PROCESS:SEAMLESS,INSPECTION, CERTIFICATE:EN 10204 -3.1/ ISO 10474 -3.1,SCH1:XXS,SCH2:XXS,SIZE 1:12IN,SIZE 2:8IN,NSRP IDENT CODE:P28A-00D9R,ADDITIONAL INFORMATION:LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 14 | 14 | 0
12 | 2030300145 | TEE,STRAIGHT CROSS,BUTT-WELD,ASTM A420 GRADE WPL6,SEAMLESS,XXS,12IN,P23A-0004X | TEE,PIPE,STRAIGHT CROSS,BUTT-WELD,DESIGN SPEC:ASME B16.9,MATERIAL:CARBON STEEL,MAT SPEC, FITTING:ASTM A420 GRADE WPL6,MANUFACTURING PROCESS:SEAMLESS,INSPECTION, CERTIFICATE:EN 10204 -3.1/ ISO 10474 -3.1,SCH:XXS,SIZE:12IN,NSRP IDENT CODE:P23A-0004X,ADDITIONAL INFORMATION:LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 7 | 7 | 0
13 | 2030300103 | FLANGE,WN,ASTM A105,ASME B16.5,RAISED FACE,CL300,SCH XXS,12IN,P61B-00B1F | FLANGE,PIPE,WELDING NECK,DESIGN SPEC:ASME B16.5,MATERIAL:CARBON STEEL,MAT, SPEC:ASTM A105,FACING, FLANGE:ASME B16.5,RAISED FACE,PRESSURE DESIGNATION:CL300,SERVICES(S):NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1, ISO 10474 -3.1,SCHEDULE NUMBER, HUB:SCH XXS,SIZE:12IN,IDENT CODE:P61B-00B1F,ADDITIONAL INFORMATION:LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 14 | 14 | 0
14 | 2030300147 | TEE,REDUCING,BUTT-WELD,ASTM A234 GRADE WPB,WELD,XXS,XXS,8IN,4IN,P25A-002T2 | TEE,PIPE,REDUCING,BUTT-WELD,DESIGN SPEC:ASME B16.9,MATERIAL:CARBON STEEL,MAT SPEC, FITTING:ASTM A234 GRADE WPB,MANUFACTURING PROCESS:WELD,INSPECTION, CERTIFICATE:EN 10204 -3.1/ ISO 10474 -3.1,SCH1:XXS,SCH2:XXS,THICKNESS, WALL:AS PER DESIGN,DIMENSION, C TO E:AS PER DESIGN,SIZE 1:8IN,SIZE 2:4IN,NSRP IDENT CODE:P25A-002T2,ADDITIONAL INFORMATION:LATERAL TEE, 45 DEGREE, LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 2 | 2 | 0
15 | 2030300104 | FLANGE,WN,ASTM A105,ASME B16.5,RAISED FACE,CL300,SCH XXS,8IN,P61B-009SA | FLANGE,PIPE,WELDING NECK,DESIGN SPEC:ASME B16.5,MATERIAL:CARBON STEEL,MAT, SPEC:ASTM A105,FACING, FLANGE:ASME B16.5,RAISED FACE,PRESSURE DESIGNATION:CL300,SERVICES(S):NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1, ISO 10474 -3.1,SCHEDULE NUMBER, HUB:SCH XXS,SIZE:8IN,IDENT CODE:P61B-009SA,ADDITIONAL INFORMATION:LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 4 | 4 | 0
16 | 2030300100 | BRANCH FITTING,LATERAL-OUTLET, SOCKET-WELD,REDUCING,ASTM A105,CL9000,3-10IN,1IN,P34B-001VW | BRANCH FITTING,PIPE,SOCKET-WELD,REDUCING,DESIGN SPEC:MSS SP-97,MATERIAL:CARBON STEEL,MAT SPEC:ASTM A105,SERVICE:NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1 ISO 10474 -3.1,PRESSURE DESIGNATION:CL9000,SCHEDULE NUMBER (RUN):N/A,SCHEDULE NUMBER (OUTLET):N/A,THICKNESS, WALL (RUN):AS PER DESIGN,THICKNESS, WALL (OUTLET):AS PER DESIGN,SIZE (RUN):3-10IN,SIZE (OUTLET):1IN,NSRP IDENT CODE:P34B-001VW,ADDITIONAL INFORMATION:LATERAL-OUTLET,45 DEGREE, LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 12 | 12 | 0
17 | 2093700201 | FLANGE, WN, 4IN, XXS, 300#, ASTM A105, ASME B16.5, LICENSOR-1, RF, P61B-009S8 | FLANGE, WN, 4IN, XXS, 300#, ASTM A105, ASME B16.5, LICENSOR-1, RF, P61B-009S8 | PC | PIPE | 4 | 4 | 0
18 | 2030233630 | ELBOW, 4IN, 90 DEG, SCH-XXS, ASTM A234 GRADE WPB, SEAMLESS, ASME B16.9, BW, LONG RADIUS, P02A-002K0 | ELBOW, 4IN, 90 DEG, SCH-XXS, ASTM A234 GRADE WPB, SEAMLESS, ASME B16.9, BW, LONG RADIUS, P02A-002K0 | PC | PIPE | 6 | 6 | 8
19 | 2030300146 | TEE,STRAIGHT CROSS,BUTT-WELD,ASTM A420 GRADE WPL6,SEAMLESS,XXS,10IN,P23A-0004W | TEE,PIPE,STRAIGHT CROSS,BUTT-WELD,DESIGN SPEC:ASME B16.9,MATERIAL:CARBON STEEL,MAT SPEC, FITTING:ASTM A420 GRADE WPL6,MANUFACTURING PROCESS:SEAMLESS,INSPECTION, CERTIFICATE:EN 10204 -3.1/ ISO 10474 -3.1,SCH1:XXS,SIZE:10IN,NSRP IDENT CODE:P23A-0004W,ADDITIONAL INFORMATION:LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 1 | 1 | 0
20 | 2030300111 | REDUCER,ECC,BW,ASTM A420 GRADE WPL6,XXS,XXS,10IN,6IN,P28A-00BNV | REDUCER,PIPE,ECCENTRIC,BUTT-WELD,DESIGN SPEC:ASME B16.9,MATERIAL:CARBON STEEL,MAT SPEC, BASE MATERIAL:ASTM A420 GRADE WPL6,MANUFACTURING PROCESS:SEAMLESS,INSPECTION, CERTIFICATE:EN 10204 -3.1/ ISO 10474 -3.1,SCH1:XXS,SCH2:XXS,SIZE 1:10IN,SIZE 2:6IN,NSRP IDENT CODE:P28A-00BNV,ADDITIONAL INFORMATION:LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 2 | 2 | 0
21 | 2030300112 | REDUCER,ECC,BW,ASTM A234 GRADE WPB,XXS,XXS,8IN,6IN,P28A-00BNT | REDUCER,PIPE,ECCENTRIC,BUTT-WELD,DESIGN SPEC:ASME B16.9,MATERIAL:CARBON STEEL,MAT SPEC, BASE MATERIAL:ASTM A234 GRADE WPB,MANUFACTURING PROCESS:SEAMLESS,INSPECTION, CERTIFICATE:EN 10204 -3.1/ ISO 10474 -3.1,SCH1:XXS,SCH2:XXS,SIZE 1:8IN,SIZE 2:6IN,NSRP IDENT CODE:P28A-00BNT,ADDITIONAL INFORMATION:LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 2 | 2 | 0
22 | 2050211120 | STUD, 2IN, 975MM LG, SA 193-B16, SA 194-4, 8UN, 2 HEAVY NUTS, POS#: 11, DWG#: VJ2153-201-B-034 | STUD, 2IN, 975MM LG, SA 193-B16, SA 194-4, 8UN, 2 HEAVY NUTS, POS#: 11, DWG#: VJ2153-201-B-034 | SET | PIPE | 96 | 84 | 23
23 | 2050256030 | BOLT, NUT, 1.375IN, 270MM L, ASTM A193 GR B16/A194 GR 4, ASME B1.1 8UN STUD-BOLT 2HHNUTS, P80S-00F4T | BOLT AND NUT, 1.375IN, L270MM, BOLT AND NUT ASTM A193 GRADE B16 / A194 GRADE 4 ASME B1.1 8UN STUD-BOLT WITH TWO HEAVY HEX NUTS | SET | PIPE | 117 | 40 | 77
24 | 2001401089 | BOLT AND NUT, 1.125IN, L180MM, ASTM A193 GRADE B16 / A194 GRADE 4 ASME B1.1 UNC, 2HHN, P80S-00FH7 | 1.125IN, L180MM, BOLT AND NUT ASTM A193 GRADE B16 / A194 GRADE 4 ASME B1.1 UNC STUD-BOLT WITH TWO HEAVY HEX NUTS, PART# COMMON | SET | PIPE | 120 | 120 | 0
25 | 2050256031 | BOLT, NUT, 1.125IN, 220MM L, ASTM A193 GR B16/A194 GR 4, ASME B1.1 8UN STUD-BOLT 2HHNUTS, P80S-00FGZ | BOLT AND NUT, 1.125IN, L220MM, BOLT AND NUT ASTM A193 GRADE B16 / A194 GRADE 4 ASME B1.1 8UN STUD-BOLT WITH TWO HEAVY HEX NUTS | SET | PIPE | 120 | 120 | 0
26 | 2001405978 | BOLT, NUT, 1IN, 170MM L, ASTM A193 GR B7/ASTM A194 GR 2H ASME B1.1 UNC STUD-BOLT 2HH NUT, P80S-0043N | BOLT, NUT, 1IN, 170MM L, ASTM A193 GR B7/ASTM A194 GR 2H ASME B1.1 UNC STUD-BOLT 2HH NUT, P80S-0043N | SET | PIPE | 72 | 72 | 0
27 | 2050255751 | BOLT, NUT, 0.75IN, 125MM L, ASTM A193 GR B8M 2#/A194 GR 8MA B1.1 UNC STUD-BOLT, 2HH NUTS, P80S-00K7C | STUD BOLT, WITH NUT, MAT SPEC, STUD BOLT(S):ASTM A193 GRADE B8M CLASS 2, MAT SPEC, NUT(S):ASTM A194 GRADE 8MA, TYPE OF THREAD:ASME B1.1 SERIES UNC, TYPE, NUT:UN HEAVY HEXAGONAL, NUMBER, NUTS PER STUD BOLT:2 NUTS, LENGTH:125MM, SIZE:0.75IN, QA/QC DOCUMENT REQUIRED:CO/CQ/ MTC, NSRP IDENT CODE : P80S-00K7C | SET | PIPE | 72 | 72 | 0
28 | 2001403123 | BOLT & NUT ASTM A193 GR B8M CL 2/A194 GR 8MA, B1.1 UNC STUD, 2 NUT HEAVY HEX L140 0.875IN P80S-00K22 | STUD BOLT, WITH NUT, MAT SPEC, STUD BOLT(S):ASTM A193 GRADE B8M CLASS 2, MAT SPEC, NUT(S):ASTM A194 GRADE 8MA, DESIGN SPEC, NUT:ASME B18.2.2, DESIGN SPEC, THREAD:ASME B1.1, THREAD CLASS SYMBOL, STUD BOLT:CLASS 2A, THREAD CLASS SYMBOL, NUT:CLASS 2B, TYPE OF THREAD:ASME B1.1 SERIES UNC, TYPE, NUT:UN HEAVY HEXAGONAL, NUMBER, NUTS PER STUD BOLT:2 NUTS, LENGTH:140MM, SIZE:0.875IN, NSRP IDENT CODE:P80S-00K22, QA/QC DOCUMENT REQUIRED:CO/CQ/ MTC | EA | PIPE | 72 | 72 | 0
29 | 2030300108 | PIPE,METALLIC,ASTM A312 Grade TP304H,SEAMLESS,BEVEL END (BE),XXS,6IN,P01J-002HN | PIPE,METALLIC,MATERIAL:STAINLESS STEEL,MAT, SPEC:ASTM A312 GRADE TP304H,SERVICE:NON-SOUR,DIMENSIONAL SPEC:ASME B36.10M/B36.19M,MANUFACTURING PROCESS:SEAMLESS,END PREPARATION:BEVEL END (BE),INSPECTION, CERTIFICATE:EN 10204 -3.1, ISO 10474 -3.1,DIAMETER, OD:AS PER DESIGN,LENGTH:DRL,MASS:AS PER DESIGN,SCHEDULE NUMBER:XXS,SIZE:6IN,NSRP IDENT CODE:P01J-002HN,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | M | PIPE | 6 | 6 | 0
30 | 2030300105 | FLANGE,WN,ASTM A182 GRADE F304H,ASME B16.5,RAISED FACE,CL300,SCH XXS,6IN,P61K-005MX | FLANGE,PIPE,WELDING NECK,DESIGN SPEC:ASME B16.5,MATERIAL:STAINLESS STEEL,MAT, SPEC:ASTM A182 GRADE F304H,FACING, FLANGE:ASME B16.5,RAISED FACE,PRESSURE DESIGNATION:CL300,SERVICES(S):NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1, ISO 10474 -3.1,SCHEDULE NUMBER, HUB:SCH XXS,SIZE:6IN,IDENT CODE:P61K-005MX,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 4 | 4 | 0
31 | 2030300106 | FLANGE,WN,ASTM A182 GRADE F304H,ASME B16.5,RAISED FACE,CL300,SCH XXS,8IN,P61K-005MY | FLANGE,PIPE,WELDING NECK,DESIGN SPEC:ASME B16.5,MATERIAL:STAINLESS STEEL,MAT, SPEC:ASTM A182 GRADE F304H,FACING, FLANGE:ASME B16.5,RAISED FACE,PRESSURE DESIGNATION:CL300,SERVICES(S):NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1, ISO 10474 -3.1,SCHEDULE NUMBER, HUB:SCH XXS,SIZE:8IN,IDENT CODE:P61K-005MY,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 4 | 4 | 0
32 | 2030300107 | FLANGE,WN,ASTM A105,ASME B16.5,RAISED FACE,CL300,SCH XXS,10IN,P61B-009S5 | FLANGE,PIPE,WELDING NECK,DESIGN SPEC:ASME B16.5,MATERIAL:CARBON STEEL,MAT, SPEC:ASTM A105,FACING, FLANGE:ASME B16.5,RAISED FACE,PRESSURE DESIGNATION:CL300,SERVICES(S):NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1, ISO 10474 -3.1,SCHEDULE NUMBER, HUB:SCH XXS,SIZE:10IN,IDENT CODE:P61B-009S5,ADDITIONAL INFORMATION:LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 4 | 4 | 0
33 | 2000503424 | CAP,BUTT-WELD,ASTM A420 GRADE WPL6,SEAMLESS,XXS,10IN,P29A-00323 | CAP,PIPE,BUTT-WELD,DESIGN SPEC:ASME B16.9,MATERIAL:CARBON STEEL,MAT SPEC, FITTING:ASTM A420 GRADE WPL6,MANUFACTURING PROCESS:SEAMLESS,SERVICE:NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1 ISO 10474 -3.1,SCHEDULE NUMBER:XXS,THICKNESS, WALL:AS PER DESIGN,LENGTH:AS PER DESIGN,SIZE:10IN,NSRP IDENT CODE:P29A-00323,ADDITIONAL INFORMATION:LICENSOR-1,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 2 | 2 | 0
34 | 2030300101 | BRANCH FITTING,CAP,SOCKET-WELD,REDUCING,ASTM A105,CL9000,1IN,N/A,P36B-000BX | BRANCH FITTING,PIPE,SOCKET-WELD,REDUCING,DESIGN SPEC:MSS SP-97,MATERIAL:CARBON STEEL,MAT SPEC:ASTM A105,SERVICE:NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1 ISO 10474 -3.1,PRESSURE DESIGNATION:CL9000,SCHEDULE NUMBER (RUN):N/A,SCHEDULE NUMBER (OUTLET):N/A,THICKNESS, WALL (RUN):AS PER DESIGN,THICKNESS, WALL (OUTLET):AS PER DESIGN,SIZE (RUN):1IN,SIZE (OUTLET):N/A,NSRP IDENT CODE:P36B-000BX,ADDITIONAL INFORMATION:OUTLET ON CAP, CAP=NPS10 AND LARGER,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | 6 | 6 | 0
35 | 2050259047 | U-BOLT,WITH NUT,CS,ASTM A307-B/A563-A,METRIC COARSE,440MM,M24,GALVANIZED,FOR RUN PIPE SIZE: 14IN | BOLT, FOUNDATION, TYPE: U-BOLT, ACCESSORIES: WITH NUT, MATERIAL: CARBON STEEL, MAT SPEC, BOLTING: ASTM A307 GRADE B, MAT SPEC, NUT(S): ASTM A563 GRADE A, TYPE, THREAD: METRIC COARSE, LENGTH, BOLT: 440MM, SIZE: M24, ADDITIONAL INFORMATION: GALVANIZED, FOR RUN PIPE SIZE: 14IN, QA/QC DOCUMENT REQUIRED: CO/CQ | SET | BOLT | As per inspection report | 10 | 0
36 | 2050259048 | U-BOLT,WITH NUT,CS,ASTM A307-B/A563-A,METRIC COARSE,350MM,M20,GALVANIZED,RUN PIPE SIZE: 10IN | BOLT, FOUNDATION, TYPE: U-BOLT, ACCESSORIES: WITH NUT, MATERIAL: CARBON STEEL, MAT SPEC, BOLTING: ASTM A307 GRADE B, MAT SPEC, NUT(S): ASTM A563 GRADE A, TYPE, THREAD: METRIC COARSE, LENGTH, BOLT: 350MM, SIZE: M20, ADDITIONAL INFORMATION: GALVANIZED, RUN PIPE SIZE: 10IN, QA/QC DOCUMENT REQUIRED: CO/CQ | SET | BOLT | As per inspection report | 10 | 0
37 | 2050259049 | U-BOLT,WITH NUT,CS,ASTM A307-B/A563-A,METRIC COARSE,300MM,M16,GALVANIZED,RUN PIPE SIZE: 8IN | BOLT, FOUNDATION, TYPE: U-BOLT, ACCESSORIES: WITH NUT, MATERIAL: CARBON STEEL, MAT SPEC, BOLTING: ASTM A307 GRADE B, MAT SPEC, NUT(S): ASTM A563 GRADE A, TYPE, THREAD: METRIC COARSE, LENGTH, BOLT: 300MM, SIZE: M16, ADDITIONAL INFORMATION: GALVANIZED, RUN PIPE SIZE: 8IN, QA/QC DOCUMENT REQUIRED: CO/CQ | SET | BOLT | As per inspection report | 10 | 0
38 | 2050259050 | U-BOLT,WITH NUT,CS,ASTM A307-B/A563-A,METRIC COARSE,235MM,M16,GALVANIZED,RUN PIPE SIZE: 6IN | BOLT, FOUNDATION, TYPE: U-BOLT, ACCESSORIES: WITH NUT, MATERIAL: CARBON STEEL, MAT SPEC, BOLTING: ASTM A307 GRADE B, MAT SPEC, NUT(S): ASTM A563 GRADE A, TYPE, THREAD: METRIC COARSE, LENGTH, BOLT: 235MM, SIZE: M16, ADDITIONAL INFORMATION: GALVANIZED, RUN PIPE SIZE: 6IN, QA/QC DOCUMENT REQUIRED: CO/CQ | SET | BOLT | As per inspection report | 20 | 0
39 | 2050259051 | U-BOLT,WITH NUT,CS,ASTM A307-B/A563-A,METRIC COARSE,180MM,M12,GALVANIZED,RUN PIPE SIZE: 4IN | BOLT, FOUNDATION, TYPE: U-BOLT, ACCESSORIES: WITH NUT, MATERIAL: CARBON STEEL, MAT SPEC, BOLTING: ASTM A307 GRADE B, MAT SPEC, NUT(S): ASTM A563 GRADE A, TYPE, THREAD: METRIC COARSE, LENGTH, BOLT: 180MM, SIZE: M12, ADDITIONAL INFORMATION: GALVANIZED, RUN PIPE SIZE: 4IN, QA/QC DOCUMENT REQUIRED: CO/CQ | SET | BOLT | As per inspection report | 20 | 0
40 | 2050259052 | U-BOLT,WITH NUT,CS,ASTM A307-B/A563-A,METRIC COARSE,145MM,M12,GALVANIZED,RUN PIPE SIZE: 3IN | BOLT, FOUNDATION, TYPE: U-BOLT, ACCESSORIES: WITH NUT, MATERIAL: CARBON STEEL, MAT SPEC, BOLTING: ASTM A307 GRADE B, MAT SPEC, NUT(S): ASTM A563 GRADE A, TYPE, THREAD: METRIC COARSE, LENGTH, BOLT: 145MM, SIZE: M12, ADDITIONAL INFORMATION: GALVANIZED, RUN PIPE SIZE: 3IN, QA/QC DOCUMENT REQUIRED: CO/CQ | SET | BOLT | As per inspection report | 50 | 0
41 | 2050259053 | U-BOLT,WITH NUT,CS,ASTM A307-B/A563-A,METRIC COARSE,115MM,M10,GALVANIZED,RUN PIPE SIZE: 2IN | BOLT, FOUNDATION, TYPE: U-BOLT, ACCESSORIES: WITH NUT, MATERIAL: CARBON STEEL, MAT SPEC, BOLTING: ASTM A307 GRADE B, MAT SPEC, NUT(S): ASTM A563 GRADE A, TYPE, THREAD: METRIC COARSE, LENGTH, BOLT: 115MM, SIZE: M10, ADDITIONAL INFORMATION: GALVANIZED, RUN PIPE SIZE: 2IN, QA/QC DOCUMENT REQUIRED: CO/CQ | SET | BOLT | As per inspection report | 150 | 0
42 | 2050259054 | U-BOLT,WITH NUT,CS,ASTM A307-B/A563-A,METRIC COARSE,100MM,M10,GALVANIZED,RUN PIPE SIZE: 1.5IN | BOLT, FOUNDATION, TYPE: U-BOLT, ACCESSORIES: WITH NUT, MATERIAL: CARBON STEEL, MAT SPEC, BOLTING: ASTM A307 GRADE B, MAT SPEC, NUT(S): ASTM A563 GRADE A, TYPE, THREAD: METRIC COARSE, LENGTH, BOLT: 100MM, SIZE: M10, ADDITIONAL INFORMATION: GALVANIZED, RUN PIPE SIZE: 1.5IN, QA/QC DOCUMENT REQUIRED: CO/CQ | SET | BOLT | As per inspection report | 50 | 0
43 | 2050258159 | U-BOLT,WITH NUT,CS,ASTM A307-B/A563-A,METRIC COARSE,85MM,M6,GALVANIZED,RUN PIPE SIZE: 1IN | BOLT, FOUNDATION, TYPE: U-BOLT, ACCESSORIES: WITH NUT, MATERIAL: CARBON STEEL, MAT SPEC, BOLTING: ASTM A307 GRADE B, MAT SPEC, NUT(S): ASTM A563 GRADE A, TYPE, THREAD: METRIC COARSE, LENGTH, BOLT: 85MM, SIZE: M6, ADDITIONAL INFORMATION: GALVANIZED, RUN PIPE SIZE: 1IN, QA/QC DOCUMENT REQUIRED: CO/CQ | PC | BOLT | As per inspection report | 250 | 0
44 | 2050259055 | U-BOLT,WITH NUT,CS,ASTM A307-B/A563-A,METRIC COARSE,80MM,M6,GALVANIZED,RUN PIPE SIZE: 0.75IN | BOLT, FOUNDATION, TYPE: U-BOLT, ACCESSORIES: WITH NUT, MATERIAL: CARBON STEEL, MAT SPEC, BOLTING: ASTM A307 GRADE B, MAT SPEC, NUT(S): ASTM A563 GRADE A, TYPE, THREAD: METRIC COARSE, LENGTH, BOLT: 80MM, SIZE: M6, ADDITIONAL INFORMATION: GALVANIZED, RUN PIPE SIZE: 0.75IN, QA/QC DOCUMENT REQUIRED: CO/CQ | SET | BOLT | As per inspection report | 400 | 0
45 | 2050258915 | STUD, BOLT, 2.5IN, 1500MM LG, WITHOUT NUT, ASTM A193-B7M, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN | STUD, BOLT, 2.5IN, 1500MM LG, WITHOUT NUT, ASTM A193 GRADE B7M, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN, EN 10204 -3.1 | EA | BOLT | - | 5 | 0
46 | 2050258632 | STUD, WITHOUT NUT, 1500MM L, 2IN, ASTM SA193 GRADE B7, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2IN, ASTM SA193 GRADE B7, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN | EA | BOLT | - | 40 | 2
47 | 2050258649 | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2.25IN, ASTM A193 GRADE B7M, ASME B1.1 CLASS 2A | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2.25IN, ASTM A193 GRADE B7M, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN | EA | BOLT | - | 5 | 2
48 | 2050258640 | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2IN, ASTM SA193 GRADE B16, ASME B1.1 CLASS 2A | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2IN, ASTM SA193 GRADE B16, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN | EA | BOLT | - | 40 | 0
49 | 2050258673 | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2.75IN, ASTM A307 GRADE B HDG, ASME B1.1 CLASS 2A | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2.75IN, ASTM A307 GRADE B HDG, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8- UN | EA | BOLT | - | 10 | 0
50 | 2050258633 | STUD, WITHOUT NUT, 1500MM L, 2.25IN, ASTM SA193 GRADE B7, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2.25IN, ASTM SA193 GRADE B7, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN | EA | BOLT | - | 20 | 2
51 | 2050258648 | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2IN, ASTM A193 GRADE B7M, ASME B1.1 CLASS 2A | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2IN, ASTM A193 GRADE B7M, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN | EA | BOLT | - | 50 | 0
52 | 2050258666 | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2.75IN, ASTM A307 GRADE B, ASME B1.1 CLASS 2A | STUD, STUD BOLT, WITHOUT NUT, 1500MM L, 2.75IN, ASTM A307 GRADE B, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8- UN | EA | BOLT | - | 5 | 0
53 | 2050258911 | STUD, BOLT, 2.5IN, 1500MM LG, WITHOUT NUT, ASTM SA193-B7, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN | STUD, BOLT, 2.5IN, 1500MM LG, WITHOUT NUT, ASTM SA193 GRADE B7, ASME B1.1 CLASS 2A, ASME B1.1 SERIE 8-UN, EN 10204 -3.1 | EA | BOLT | - | 10 | 2
54 | 2030100031 | PIPE, 0.5IN, SCH-80S, ASTM A312 GRADE TP316/316L, SEAMLESS, ASME B36.10M/B36.19M, PE, P01J-0014A | PIPE, METALLIC, MATERIAL: STAINLESS STEEL, MAT, SPEC: ASTM A312 GRADE TP316/TP316L DUAL GRADE, SERVICE: NON-SOUR, DIMENSIONAL SPEC: ASME B36.10M/B36.19M, MANUFACTURING PROCESS: SEAMLESS, END PREPARATION: PLAIN END (PE), SPECTION, CERTIFICATE: EN 10204 -3.1, ISO 10474 -3.1, DIAMETER, OD: AS PER DESIGN, LENGTH: SRL, SCHEDULE NUMBER: SCH80S, SIZE: 0.5IN, NSRP IDENT CODE: P01J-0014A, QA/QC DOCUMENT REQUIRED: CO/CQ/MTC | M | PIPE | - | 12 | 0
55 | 2093990454 | ELBOW, 90DEG, 0.5IN, SCH80S, SEAMLESS, ASME SA403 GRADE WP316/WP316L CLASS S DUAL GRADE, ASME B16 | ELBOW, PIPE, BUTT-WELD, DESIGN SPEC:ASME B16.9, MATERIAL:STAINLESS STEEL, MAT SPEC, FITTING:ASME SA403 GRADE WP316/WP316L CLASS S DUAL GRADE, MANUFACTURING PROCESS:SEAMLESS, ANGLE:90 DEGREE ELBOW, TYPE:LONG RADIUS, INSPECTION, CERTIFICATE:EN 10204 -3.1, ISO 10474 -3.1, SCHEDULE NUMBER:SCH80S, SIZE:0.5IN, NSRP IDENT CODE:P02J-00191, QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | - | 6 | 0
56 | 2030502396 | VALVE, GATE VALVE, 1-1/2IN, 800#, SA182-F316/F316L-DG, API 602, SW, TRIM-12, BB-OS&Y HWL, P81K-0010P | VALVE, GATE VALVE, 1-1/2IN, 800#, SA182-F316/F316L-DG, API 602, SW, TRIM-12, BB-OS&Y HNDWHL, IDENT CODE: P81K-0010P, DWG#: A700-C-070-4907-99 | EA | VALVE | - | 5 | 0
57 | 2030500389 | VALVE, ANGLE NEEDLE VALVE, 1IN, 800#, ASTM A216-WCB, BS 1873, WCB/304, SW, 087/088/089-SP-0006, 0010 | VALVE, ANGLE NEEDLE VALVE, 1IN, 800#, ASTM A216-WCB, BS 1873, WCB/ 304 D&S: STL, SW, 087/088/089-SP-0006, 0010, (CONTINUOUS OPE.) | PC | VALVE | - | 6 | 0
58 | 2030500387 | VALVE, ANGLE NEEDLE VALVE, 2IN, 150#, ASTM A216-WCB,BS 1873, WCB/304: 087~089-SP-0007,0011,0018,0019 | VALVE, ANGLE NEEDLE VALVE, 2IN, 150#, ASTM A216-WCB, BS 1873, WCB/ 304 D&S: STL, FLANGE ASME B16.5 RF, 087/088/089-SP-0007, 0011, 0018 (INTERMITTENT OPE) & 087/088/089-SP-0019 (CONTINUOUS OPE) | PC | VALVE | - | 9 | 0
59 | 2030500391 | VALVE, ANGLE NEEDLE VALVE, 2IN, 600#, A216-WCB, BS1873, 087~089-SP-0012,0017, 093-SP-0004/8, 0011/12 | VALVE, ANGLE NEEDLE VALVE, 2IN, 600#, ASTM A216-WCB, BS 1873, WCB/ 304 D&S: STL, FLANGE ASME B16.5 RF, 087/088/089-SP-0012 & 093-SP-0004, 0008 (INTERMITTENT OPE.) & 087/088/089-SP-0017 & 093-SP-0011, 0012 (CONTINUOUS OPE.) | PC | VALVE | - | 10 | 0
60 | 2001405251 | STRAIGHT NIPPLE, 0.75IN, ASTM A333 GRADE 6 SEAMLESS ASME B36.10M/B36.19M PE - NPT 100MML, P41A-000BB | STRAIGHT NIPPLE, 0.75IN, ASTM A333 GRADE 6 SEAMLESS ASME B36.10M/B36.19M PE - NPT L=100MM, P41A-000BB | PC | PIPE | - | 9 | 0
61 | 2030536187 | VALVE, GATE, 0.75IN, 800LB, COMPLETE, ASTM A350 GRADE LF2, TRIM 12, TAG#: P81B-0018D, B.F.E.S.R.L. | VALVE, GATE, 0.75IN, 800LB, COMPLETE, ASTM A350 GRADE LF2, TRIM 12, TAG#: P81B-0018D, B.F.E.S.R.L. | EA | VALVE | - | 5 | 0
62 | 2001402697 | PIPE, METALLIC, CS, ASTM A106 GR.B, PE, XS, 0.75IN, P01A-000XN | PIPE, METALLIC, MATERIAL: CARBON STEEL, MAT, SPEC: ASTM A106 GRADE B, SERVICE: NON-SOUR, DIMENSIONAL SPEC: ASME B36.10M/B36.19M, MANUFACTURING PROCESS: SEAMLESS, END PREPARATION: PLAIN END (PE), SPECTION, CERTIFICATE: EN 10204 -3.1, ISO 10474 -3.1, DIAMETER, OD: AS PER DESIGN, LENGTH: SRL, SCHEDULE NUMBER: XS, SIZE: 0.75IN, NSRP IDENT CODE: P01A-000XN, QA/QC DOCUMENT REQUIRED: CO/CQ/MTC | M | PIPE | - | 18 | 0
63 | 2060110700 | FLANGE, SW, P61B-001R9, ASME B16.5 RF, 0.5IN, KILLED CS, ASTM A105, 150# | FLANGE, SW, P61B-001R9, ASME B16.5 RF, 0.5IN, KILLED CS, ASTM A105, 150# | PC | PIPE | - | 5 | 1
64 | 2060151201 | ELBOW, 90DEG, P02B-0001A, ASME B16.11 SW, 3000#, 0.75IN, LTCS, GRADE LF2, ASTM A350, 1# | ELBOW, 90DEG, P02B-0001A, ASME B16.11 SW, 3000#, 0.75IN, LTCS, GRADE LF2, ASTM A350, 1# | PC | PIPE | - | 6 | 0
65 | 2060110739 | FLANGE, 2IN, WELD NECK, SCH-XS, ASTM A105, 150#, ASME B16.5, RF, P61B-003NK | FLANGE, 2IN, WELD NECK, SCH-XS, ASTM A105, 150#, ASME B16.5, RF, P61B-003NK | PC | PIPE | - | 7 | 5
66 | 2060110727 | FLANGE, WN, P61B-001HW, ASME B16.5 RF, 2IN, KILLED CS, ASTM A105, 300#, XS | FLANGE,PIPE,WELDING NECK,DESIGN SPEC:ASME B16.5,MATERIAL:CARBON STEEL,MAT, SPEC:ASTM A105,FACING, FLANGE:ASME B16.5,RAISED FACE,PRESSURE DESIGNATION:CL300,SERVICES(S):NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1, ISO 10474 -3.1,SCHEDULE NUMBER, HUB:XS,SIZE:2IN,NSRP IDENT CODE:P61B-001HW,SHELL MESC CODE:7662786101,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | - | 8 | 0
67 | 2030559186 | THREAD-OUTLET, REDUCING, ASTM A350 GRADE LF2 CLASS 1, CL3000, 6-12 X 0.75IN, P31B-007J5 | BRANCH FITTINGS, PIPE, THREAD-OUTLET, REDUCING, DESIGN SPEC: MSS SP-97, MATERIAL: LOW ALLOY STEEL, MAT, SPEC: ASTM A350 GRADE LF2 CLASS 1, SERVICE(S): COMMON, INSPECTION, CERTIF: EN 10204 -3.1, ISO 10474 -3.1, PRESSURE DESIGNATION: CL3000, SIZE (RUN X OUTLET): 6-12 X 0.75IN, NSRP IDENT CODE: P31B-007J5, ADDITIONAL INFORMATION: NPT, QA/QC DOCUMENT REQUIRED: CO/CQ/MTC | PC | PIPE | - | 10 | 0
68 | 2030559187 | PLUGS, PIPE, THREADED, ASME B16.11, ASTM A350 GRADE LF2 CLASS 1, ROUND HEAD, NPT, 0.75IN, P30B-0002W | PLUGS, PIPE, THREADED, ASME B16.11, MATERIAL: LOW ALLOY STEEL, MAT, SPEC: ASTM A350 GRADE LF2 CLASS 1, COATING: N/A, TYPE HEAD: ROUND HEAD, TYPE OF PATTERN: AS PER DESIGN, TYPE OF THREAD: NPT, PRESSURE DESIGNATION: N/A, SERVICE(S): COMMON, INSPECTION, CERTIF: EN 10204 -3.1, ISO 10474 -3.1, SIZE: 0.75IN, NSRP IDENT CODE: P30B-0002W, QA/QC DOCUMENT REQUIRED: CO/CQ/MTC | PC | PIPE | - | 10 | 0
69 | 2030559188 | THREAD-OUTLET, REDUCING, ASTM A350 GRADE LF2 CLASS 1, CL3000, 2-2.5 X 0.75IN, P31B-0139H | BRANCH FITTINGS, PIPE, THREAD-OUTLET, REDUCING, DESIGN SPEC: MSS SP-97, MATERIAL: LOW ALLOY STEEL, MAT, SPEC: ASTM A350 GRADE LF2 CLASS 1, SERVICE(S): COMMON, INSPECTION, CERTIF: EN 10204 -3.1, ISO 10474 -3.1, PRESSURE DESIGNATION: CL3000, SIZE (RUN X OUTLET): 2-2.5 X 0.75IN, NSRP IDENT CODE: P31B-0139H, ADDITIONAL INFORMATION: NPT, QA/QC DOCUMENT REQUIRED: CO/CQ/MTC | PC | PIPE | - | 10 | 0
70 | 2030100229 | PIPE, 4IN, SCH80S, SA312-TP316/316L | PIPE, 4IN, SCH80S, SA312-TP316/316L | M | PIPE | 40 | 40 | 1.5
71 | 2093900113 | PIPE, 1.5IN, XS, SEAMLESS, ASME SA335 GRADE P22, ASME B36.10M/B36.19M, PE, P01F-001NE | PIPE, METALLIC, MATERIAL: ALLOY STEEL, MAT, SPEC: ASME SA335 GRADE P22, SERVICE: NON-SOUR, DIMENSIONAL SPEC: ASME B36.10M/B36.19M, MANUFACTURING PROCESS: SEAMLESS, END PREPARATION: PLAIN END (PE), SPECTION, CERTIFICATE: EN 10204 -3.1, ISO 10474 -3.1, DIAMETER, OD: AS PER DESIGN, LENGTH: SRL, SCHEDULE NUMBER: XS, SIZE: 1.5IN, NSRP IDENT CODE: P01F-001NE, QA/QC DOCUMENT REQUIRED: CO/CQ/MTC | M | PIPE | - | 12 | 0
72 | 2000501783 | FLANGE, WELDNECK, 2IN, 300#, S-XS, ASTM A105, ASME B16.5, RF, P61B-009YW | FLANGE, WELDNECK, 2IN, 300#, S-XS, ASTM A105, ASME B16.5, RF, P61B-009YW | PC | PIPE | - | 12 | 0
73 | 2000503376 | FLANGE, WN, 1.5IN, XS, CL 300, ASTM A182 GRADE F11 CLASS 2, ASME B16.5, RF | FLANGE, WN, 1.5IN, XS, CL 30#, ASTM A182 GRADE F11 CLASS 2, ASME B16.5, RF | PC | PIPE | - | 2 | 0
74 | 2030100040 | VALVE, GLOBE, 2IN, ASTM A216 GR WCB 300#, BS 1873, B16.5 RF, TRIM 5 BB-BG-OS&Y HANDWHEEL, P82C-0027S | VALVE, GLOBE VALVE, 2IN, ASTM A216 GRADE WCB, CLASS 300, BS 1873, ASME B16.5 RF, TRIM 5 BB-BG-OS&Y HANDWHEEL, P82C-0027S | SET | VALVE | - | 3 | 0
75 | 2000503377 | CAP, 2IN, ASTM A234 GRADE WPB, SMLS, ASME B16.9, BW, XS, P29A-0001A1 | CAP, 2IN, ASTM A234 GRADE WPB, SMLS, ASME B16.9, BW, XS, P29A-0001A1 | SET | PIPE | - | 3 | 0
76 | 2030100052 | TEE, STRAIGHT, 1IN, ASTM A105, ASME B16.11, SW, P21B-00026, 6000# | TEE, STRAIGHT, 1IN, ASTM A105, ASME B16.11, SW, P21B-00026, 6000# | PC | PIPE | - | 4 | 0
77 | 2060151102 | ELBOW, 90DEG, P02B-0002E, ASME B16.11 SW, 1IN, KILLED CS, ASTM A105, 6000# | ELBOW, 90DEG, P02B-0002E, ASME B16.11 SW, 1IN, KILLED CS, ASTM A105, 6000# | PC | PIPE | - | 6 | 1
78 | 2010700176 | REDUCER, CONCENTRIC REDUCER, 4IN X 2IN, XS X XS, ASTM A234 GRADE WPB, SEAMLESS, ASME B16.9, BW, P27A | REDUCER, CONCENTRIC REDUCER, 4IN X 2IN, XS X XS, ASTM A234 GRADE WPB, SEAMLESS, ASME B16.9, BW, P27A-001E4 | PC | PIPE | - | 2 | 0
79 | 2000503378 | REDUCER, CONCENTRIC REDUCER, 4IN X 3IN, XS X XS, ASTM A234 GRADE WPB, SEAMLESS, ASME B16.9, BW, P27A-001EP | REDUCER,PIPE,CONCENTRIC,BUTT-WELD,DESIGN SPEC:ASME B16.9,MATERIAL:CARBON STEEL,MAT SPEC, BASE MATERIAL:ASTM A234 GRADE WPB,MANUFACTURING PROCESS:SEAMLESS,SERVICES:NON-SOUR,INSPECTION, CERTIFICATE:EN 10204 -3.1/ ISO 10474 -3.1,SCH1:XS,SCH2:XS,THICKNESS ,WALL:AS PER DESIGN,LENGTH:AS PER DESIGN,SIZE 1:4IN,SIZE 2:3IN,NSRP IDENT CODE:P27A-001EP,QC/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | PIPE | - | 2 | 0
80 | 2093990128 | ELBOW, 90DEG, 1IN, 3000#, ASTM A182 GRADE F22 CLASS 1, ASME B16.11, SW, P02G-0001D | ELBOW, 90DEG, 1IN, 3000#, ASTM A182 GRADE F22 CLASS 1, ASME B16.11, SW, P02G-0001D | PC | PIPE | - | 2 | 0
81 | 2030300038 | OUTLET, OLET, 2IN X 0.75IN, 3000#, A105, MSS SP-97 SW, P31B-0137J | OUTLET, OLET, 2IN X 0.75IN, 3000#, A105, MSS SP-97 SW, P31B-0137J | PC | PIPE | - | 4 | 0
82 | 2060202134 | HEAT EXHANGER, PARTS, ITEM: GASKET, ITEM TYPE: TAPE, SIZE: WIDTH: 15MM X THICKNESS: 6MM X LENGTH : 10750MM, MATERIAL: EPTFE, POSITION NUMBER: 681, 682, OEM DRAWING NUMBER: 1817738124, MANUFACTURER: GEA, ADDITIONAL INFORMATION: GASKET MANUFACTUER: GORE, QA/QC DOCUMENT REQUIRED: CO, CQ, MILL TEST REPORT | HEAT EXHANGER, PARTS, ITEM: GASKET, ITEM TYPE: TAPE, SIZE: WIDTH: 15MM X THICKNESS: 6MM X LENGTH : 10750MM, MATERIAL: EPTFE, POSITION NUMBER: 681, 682, OEM DRAWING NUMBER: 1817738124, MANUFACTURER: GEA, ADDITIONAL INFORMATION: GASKET MANUFACTUER: GORE, QA/QC DOCUMENT REQUIRED: CO, CQ, MILL TEST REPORT | SET | OEM | 6 | 6 | 0
83 | 2000503455 | HEAT EXCHANGER,PARTS,ITEM : ANODES,DIMENSION : EXT.DIA.190MMX25MM THK,MATERIAL : ZINC,OEM DRAWING NO.: 1859906524,POSITION NO.: 661,EQPT MANUFACTURER : GEA, QA/QC REQUIRED DOCUMENT : CO,CQ | HEAT EXCHANGER,PARTS,ITEM : ANODES,DIMENSION : EXT.DIA.190MMX25MM THK,MATERIAL : ZINC,OEM DRAWING NO.: 1859906524,POSITION NO.: 661,EQPT MANUFACTURER : GEA, QA/QC REQUIRED DOCUMENT : CO,CQ | PC | OEM | - | 10 | 0
84 | 2093990624 | TEES, PIPE, REDUCING, BUTT-WELD, DESIGN SPEC: ASME B16.9, MAT SPEC: ASTM A234 GRADE WPB, MANUFACTURING PROCESS: SEAMLESS, SCHEDULE NUMBER: XS x XS, SIZE( RUN X BRANCH): 4IN X 2IN, NSRP IDENT CODE : P24A-0023E, QA/QC DOCUMENT REQUIRED: CO/CQ/MILL TEST CERTIFICATE | TEES, PIPE, REDUCING, BUTT-WELD, DESIGN SPEC: ASME B16.9, MAT SPEC: ASTM A234 GRADE WPB, MANUFACTURING PROCESS: SEAMLESS, SCHEDULE NUMBER: XS x XS, SIZE( RUN X BRANCH): 4IN X 2IN, NSRP IDENT CODE : P24A-0023E, QA/QC DOCUMENT REQUIRED: CO/CQ/MILL TEST CERTIFICATE | PC | PIPE | - | 5 | 18
85 | 2093900071 | PIPE, 0.75IN, SCH160, SEAMLESS, ASTM A335 GRADE P11, ASME B36.10M/B36.19M, PE, P01F-0001Y | PIPE, METALLIC, MATERIAL: ALLOY STEEL, MAT, SPEC: ASTM A335 GRADE P11, SERVICE: NON-SOUR, DIMENSIONAL SPEC: ASME B36.10M/B36.19M, MANUFACTURING PROCESS: SEAMLESS, END PREPARATION: PLAIN END (PE), SPECTION, CERTIFICATE: EN 10204 -3.1, ISO 10474 -3.1, DIAMETER, OD: AS PER DESIGN, LENGTH: SRL, SCHEDULE NUMBER: SCH160, SIZE: 0.75IN, NSRP IDENT CODE: P01F-0001Y, QA/QC DOCUMENT REQUIRED: CO/CQ/MTC | M | PIPE | - | 6 | 0
86 | 2030800000 | GASKET, SPIRAL WOUND, DESIGN SPEC: ASME B16.20, DESIGN SPEC, FLANGE(S): ASME B16.5 RF, TEMPERATURE RANGE: -50 TO 427, SIZE: 0.5IN, PRESSURE DESIGNATION: CL150, THICKNESS, GASKET: 4.5MM, THICKNESS, INNER RING: AS PER DESIGN, THICKNESS, CENTRING RING: AS PER DESIGN, MAT, WINDINGS: SS316, MAT, FILLER: GRAPHITE, MAT, INNER RING: SS316, MAT, CENTRING RING: CS, INSPECTION, CERTIFICATE: EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE: P73T-000L8, SHELL MESC CODE: 8541363041, QA/QC DOCUMENT REQUIRED: CO/CQ | GASKET, SPIRAL WOUND, DESIGN SPEC: ASME B16.20, DESIGN SPEC, FLANGE(S): ASME B16.5 RF, TEMPERATURE RANGE: -50 TO 427, SIZE: 0.5IN, PRESSURE DESIGNATION: CL150, THICKNESS, GASKET: 4.5MM, THICKNESS, INNER RING: AS PER DESIGN, THICKNESS, CENTRING RING: AS PER DESIGN, MAT, WINDINGS: SS316, MAT, FILLER: GRAPHITE, MAT, INNER RING: SS316, MAT, CENTRING RING: CS, INSPECTION, CERTIFICATE: EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE: P73T-000L8, SHELL MESC CODE: 8541363041, QA/QC DOCUMENT REQUIRED: CO/CQ | PC | GASKET |  | 200 | 0
87 | 2030800009 | GASKET, SPIRAL WOUND, DESIGN SPEC: ASME B16.20, DESIGN SPEC, FLANGE(S): ASME B16.5 RF, TEMPERATURE RANGE: -50 TO 427, SIZE: 10IN, PRESSURE DESIGNATION: CL150, THICKNESS, GASKET: 4.5MM, THICKNESS, INNER RING: AS PER DESIGN, THICKNESS, CENTRING RING: AS PER DESIGN, MAT, WINDINGS: SS316, MAT, FILLER: GRAPHITE, MAT, INNER RING: SS316, MAT, CENTRING RING: CS, INSPECTION, CERTIFICATE: EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE: P73T-000LC, SHELL MESC CODE: 8541363281, QA/QC DOCUMENT REQUIRED: CO/CQ | GASKET, SPIRAL WOUND, DESIGN SPEC: ASME B16.20, DESIGN SPEC, FLANGE(S): ASME B16.5 RF, TEMPERATURE RANGE: -50 TO 427, SIZE: 10IN, PRESSURE DESIGNATION: CL150, THICKNESS, GASKET: 4.5MM, THICKNESS, INNER RING: AS PER DESIGN, THICKNESS, CENTRING RING: AS PER DESIGN, MAT, WINDINGS: SS316, MAT, FILLER: GRAPHITE, MAT, INNER RING: SS316, MAT, CENTRING RING: CS, INSPECTION, CERTIFICATE: EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE: P73T-000LC, SHELL MESC CODE: 8541363281, QA/QC DOCUMENT REQUIRED: CO/CQ | PC | GASKET |  | 100 | 178
88 | 2030800048 | GASKET, SPIRAL WOUND, DESIGN SPEC: ASME B16.20, DESIGN SPEC, FLANGE(S): ASME B16.5 RF, TEMPERATURE RANGE: -50 TO 427, SIZE: 12IN, PRESSURE DESIGNATION: CL300, THICKNESS, GASKET: 4.5MM, THICKNESS, INNER RING: AS PER DESIGN, THICKNESS, CENTRING RING: AS PER DESIGN, MAT, WINDINGS: SS316, MAT, FILLER: GRAPHITE, MAT, INNER RING: SS316, MAT, CENTRING RING: CS, INSPECTION, CERTIFICATE: EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE: P73T-000FY, QA/QC DOCUMENT REQUIRED: CO/CQ | GASKET, SPIRAL WOUND, DESIGN SPEC: ASME B16.20, DESIGN SPEC, FLANGE(S): ASME B16.5 RF, TEMPERATURE RANGE: -50 TO 427, SIZE: 12IN, PRESSURE DESIGNATION: CL300, THICKNESS, GASKET: 4.5MM, THICKNESS, INNER RING: AS PER DESIGN, THICKNESS, CENTRING RING: AS PER DESIGN, MAT, WINDINGS: SS316, MAT, FILLER: GRAPHITE, MAT, INNER RING: SS316, MAT, CENTRING RING: CS, INSPECTION, CERTIFICATE: EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE: P73T-000FY, QA/QC DOCUMENT REQUIRED: CO/CQ | PC | GASKET |  | 100 | 0
89 | 2030800039 | GASKET, SPIRAL WOUND, DESIGN SPEC:ASME B16.20, DESIGN SPEC, FLANGE(S):ASME B16.5 RF, TEMPERATURE RANGE:-50 TO 427, SIZE:0.75IN, PRESSURE DESIGNATION:CL300-600, THICKNESS, GASKET:4.5MM, THICKNESS, INNER RING:AS PER DESIGN, THICKNESS, CENTRING RING:AS PER DESIGN, MAT, WINDINGS:SS316, MAT, FILLER:GRAPHITE, MAT, INNER RING:SS316, MAT, CENTRING RING:CS, INSPECTION, CERTIFICATE:EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE:P73T-000FU, SHELL MESC CODE:8541364061, QA/QC DOCUMENT REQUIRED:CO/CQ | GASKET, SPIRAL WOUND, DESIGN SPEC:ASME B16.20, DESIGN SPEC, FLANGE(S):ASME B16.5 RF, TEMPERATURE RANGE:-50 TO 427, SIZE:0.75IN, PRESSURE DESIGNATION:CL300-600, THICKNESS, GASKET:4.5MM, THICKNESS, INNER RING:AS PER DESIGN, THICKNESS, CENTRING RING:AS PER DESIGN, MAT, WINDINGS:SS316, MAT, FILLER:GRAPHITE, MAT, INNER RING:SS316, MAT, CENTRING RING:CS, INSPECTION, CERTIFICATE:EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE:P73T-000FU, SHELL MESC CODE:8541364061, QA/QC DOCUMENT REQUIRED:CO/CQ | PC | GASKET |  | 1000 | 0
90 | 2030800037 | GASKET, SPIRAL WOUND, DESIGN SPEC: ASME B16.20, DESIGN SPEC, FLANGE(S): ASME B16.5 RF, TEMPERATURE RANGE: -50 TO 427, SIZE: 0.5IN, PRESSURE DESIGNATION: CL300-600, THICKNESS, GASKET: 4.5MM, THICKNESS, INNER RING: AS PER DESIGN, THICKNESS, CENTRING RING: AS PER DESIGN, MAT, WINDINGS: SS316, MAT, FILLER: GRAPHITE, MAT, INNER RING: SS316, MAT, CENTRING RING: CS, INSPECTION, CERTIFICATE: EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE: P73T-000FT, SHELL MESC CODE: 8541364041, QA/QC DOCUMENT REQUIRED: CO/CQ | GASKET, SPIRAL WOUND, DESIGN SPEC: ASME B16.20, DESIGN SPEC, FLANGE(S): ASME B16.5 RF, TEMPERATURE RANGE: -50 TO 427, SIZE: 0.5IN, PRESSURE DESIGNATION: CL300-600, THICKNESS, GASKET: 4.5MM, THICKNESS, INNER RING: AS PER DESIGN, THICKNESS, CENTRING RING: AS PER DESIGN, MAT, WINDINGS: SS316, MAT, FILLER: GRAPHITE, MAT, INNER RING: SS316, MAT, CENTRING RING: CS, INSPECTION, CERTIFICATE: EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE: P73T-000FT, SHELL MESC CODE: 8541364041, QA/QC DOCUMENT REQUIRED: CO/CQ | PC | GASKET |  | 150 | 0
91 | 2030800070 | GASKET, SPIRAL WOUND, DESIGN SPEC: ASME B16.20, DESIGN SPEC, FLANGE(S): ASME B16.5 RF, TEMPERATURE RANGE: -50 TO 427, SIZE: 8IN, PRESSURE DESIGNATION: CL600, THICKNESS, GASKET: 4.5MM, THICKNESS, INNER RING: AS PER DESIGN, THICKNESS, CENTRING RING: AS PER DESIGN, MAT, WINDINGS: SS316, MAT, FILLER: GRAPHITE, MAT, INNER RING: SS316, MAT, CENTRING RING: CS, INSPECTION, CERTIFICATE: EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE: P73T-000JP, QA/QC DOCUMENT REQUIRED: CO/CQ | GASKET, SPIRAL WOUND, DESIGN SPEC: ASME B16.20, DESIGN SPEC, FLANGE(S): ASME B16.5 RF, TEMPERATURE RANGE: -50 TO 427, SIZE: 8IN, PRESSURE DESIGNATION: CL600, THICKNESS, GASKET: 4.5MM, THICKNESS, INNER RING: AS PER DESIGN, THICKNESS, CENTRING RING: AS PER DESIGN, MAT, WINDINGS: SS316, MAT, FILLER: GRAPHITE, MAT, INNER RING: SS316, MAT, CENTRING RING: CS, INSPECTION, CERTIFICATE: EN 10204 -3.1/ ISO 10474 -3.1, NSRP IDENT CODE: P73T-000JP, QA/QC DOCUMENT REQUIRED: CO/CQ | PC | GASKET |  | 400 | 0
92 | 2030800444 | GASKET, RING JOINT, DESIGN SPEC: ASME B16.20, MATERIAL: SOFT IRON, HARDNESS, MAXIMUM: 90 HB, TYPE: OCTAGONAL, TEMPERATURE RANGE: -50 TO 427, PRESSURE DESIGNATION: CL900, SIZE, PIPE, NOMINAL: 8IN, DESIGN SPEC, FLANGE(S): FLANGE ASME B16.5 RJ, RING IDENTIF NO.: R49, NSRP IDENT CODE: P75T-000JS, SHELL MESC CODE: 8537202491, QA/QC DOCUMENT REQUIRED: CO/CQ/MTC | GASKET, RING JOINT, DESIGN SPEC: ASME B16.20, MATERIAL: SOFT IRON, HARDNESS, MAXIMUM: 90 HB, TYPE: OCTAGONAL, TEMPERATURE RANGE: -50 TO 427, PRESSURE DESIGNATION: CL900, SIZE, PIPE, NOMINAL: 8IN, DESIGN SPEC, FLANGE(S): FLANGE ASME B16.5 RJ, RING IDENTIF NO.: R49, NSRP IDENT CODE: P75T-000JS, SHELL MESC CODE: 8537202491, QA/QC DOCUMENT REQUIRED: CO/CQ/MTC | PC | GASKET |  | 60 | 0
95 | 2030559259 | VALVE,GLOBE,3IN,P82L-0019Y,ASTM A351 GRADE CF8M, TRIM NO.12, BB-BG-OS&Y | VALVE,GLOBE,NOMINAL SIZE:3IN,SCHEDULE/WALL THICKNESS:AS PER DESIGN,DESIGN SPEC, PRESSURE RATING:CL150,CLASSIFICATION:N/A,LENGTH, F TO F (E TO E):241MM,TYPE OF END CONNECTION:FLANGE,TYPE OF FACE:RAISED FACE,TYPE OF PATTERN:STRAIGHT,TYPE OF PATTERN:STRAIGHT,TYPE OF CLOSURE MEMBER:DISC,TYPE OF BORE:STANDARD,TYPE OF CONSTRUCTION:OUTSIDE SCREW AND YOKE,TYPE OF BONNET/COVER:BOLTED,TYPE OF BONNET/COVER GASKET:SPRIRAL WOUND,TYPE OF SEAT:METAL,UNI/BI-DIRECTIONAL:UNI-DIRECTIONAL,SERVICE(S):NON-SOURCE,MAT REQUIREMENT, SOUR SERVICE:N/A,MAT, BODY:ASTM A351 GRADE CF8M,MAT, TRIM:TRIM NO.12,MAT, SEALS:GRAPHITE,MAT SPEC, BODY:ASTM A351 GRADE CF8M,MAT SPEC, SEAT FACING:INSITU ON BODY + STELLITE #6,MAT SPEC, BACK SEAT FACING:ASTM A276 TP316,NSRP IDENT CODE:P82L-0019Y,QA/QC DOCUMENT REQUIRED:CO/CQ/MTC | PC | VALVE | 2 | 1 | 0
96 | 2010100111 | BEARING, THRUST, BALL, 80 MM ID, 105MM OD, 19MM WD, CODE: 51116 | BEARING,BALL,METRIC,TYPE:THRUST,SERIES:51100,ROWS:SINGLE,DESIGN SPEC:ISO 104,STYLE:EXTRA LIGHT TYPE FLAT SEATS,MAT, CAGE:PRESSED STEEL,DESIGNATION:51116,DIAMETER, BORE:80MM,DIAMETER, OD:105MM,WIDTH/HEIGHT:19MM,QA/QC DOCUMENT REQUIRED:CO/CQ | PC | OTHER |  | 50 | 0
97 | 2010951237 | BEARING, BALL, DEEP GROOVE, 35MM ID, 62MM OD, 14MM WD, SINGLE ROW, 02 SHIELDS, SKF, 6007-2Z | BEARING,BALL,METRIC,TYPE:RADIAL CONTACT,SERIES:6000 2Z,ROWS:SINGLE,DESIGN SPEC:ISO 15,STYLE:DEEP GROOVE WITH TWO SHIELDS,MAT, CAGE:PRESSED STEEL,DESIGNATION:6007 2Z,DIAMETER, BORE:35MM,DIAMETER, OD:62MM,WIDTH/HEIGHT:14MM,QA/QC DOCUMENT REQUIRED:CO/CQ | PC | OTHER |  | 25 | 0
98 | 2010157092 | BEARING, BALL, 35MM ID, 72MM OD, 17MM WD, BEARING CODE: 6207-2Z | BEARING, BALL, 35MM ID, 72MM OD, 17MM WD, BEARING CODE: 6207-2Z | PC | OTHER |  | 25 | 0
99 | 2080700008 | MESH, #20, SS316, WIRE MESH, 1M X 30M | MESH, #20, SS316, WIRE MESH, 1M X 30M | ROLL | OTHER |  | 5 | 1
100 | 2080700009 | MESH, #30, SS316, WIRE MESH, 1M X 30M | MESH, #30, SS316, WIRE MESH, 1M X 30M | ROLL | OTHER |  | 5 | 1
101 | 2080700010 | MESH, #40, SS316, WIRE MESH, 1M X 30M | MESH, #40, SS316, WIRE MESH, 1M X 30M | ROLL | OTHER |  | 5 | 0
102 | 2080700013 | MESH, #80, SS316, WIRE MESH, 1M X 30M | MESH, #80, SS316, WIRE MESH, 1M X 30M | ROLL | OTHER |  | 5 | 0
103 | 2080600755 | MESH, SIZE 300, STAINLESS STEEL 316L MESH, WIRE DIAMETER: 0.04MM, SIZE: 1.2M X 30.0M | MESH, SIZE 300, STAINLESS STEEL 316L MESH, WIRE DIAMETER: 0.04MM, SIZE: 1.2M X 30.0M | ROLL | OTHER |  | 2 | 0
104 | 2080600754 | MESH, SIZE 200, STAINLESS STEEL 316L MESH, WIRE DIAMETER: 0.04MM, SIZE: 1.2M X 30.0M | MESH, SIZE 200, STAINLESS STEEL 316L MESH, WIRE DIAMETER: 0.04MM, SIZE : 1.2M X 30.0M | ROLL | OTHER |  | 2 | 2
105 | 2080700002 | MESH, #5, SS316, WIRE MESH, 1M X 30M | MESH, #5, SS316, WIRE MESH, 1M X 30M | ROLL | OTHER |  | 5 | 0
106 | 2030233704 | PLATE, 2.5M X 6M X 27MM THK, A516 GRADE 70, DWG REF: VS2151-210-A-356, NOZZLE REF: II | PLATE, 2.5M X 6M X 27MM THK, A516 GRADE 70, DWG REF: VS2151-210-A-356, NOZZLE REF: II | M2 | OTHER | 15 | 15 | 0.5