## F-05 Material
Company: Nghi Son Refinery and Petrochemical LLC
Division: Maintenance Division
MATERIAL SUPPLY
Material description: |  |  | Purchase Instrunent spare parts for Control system, GTG, STG, Boiler and others
1. General information/ Description:
No. | Code | Short Description | UOM | Linked Asset No | Quantity Order
1 | 2020555706 | CONTROLLER, UCSB CONTROLER MODULE (SAFETY), PN: IS420UCSBS1A, MANUF: GE, 112-A-001, 112-A-002 | PC | 112-A-001, 112-A-002 | 2
2 | 2021058063 | IO PACK, UCSB CONTROLLER MODULE 1066MHZ, PN: IS420UCSBH4A, MANUF: GE, 112-A-001, 112-A-002 | PC | 112-A-001, 112-A-002 | 2
3 | 2095807666 | ESWB ETHERNET SWITCH, MANUF: GE, P/N: IS420ESWBH3A | EA | 112-A-001, 112-A-002 | 2
4 | 2070600042 | CONTROLLER, PROGRAMMABLE LOGIC, WOODWARD, PROTECH TPS, 8237-2607 | PC | I02-PUCS-I-001, I02-PUCS-I-002, I03-PUCS-I-005 | 2
5 | 2070600043 | CONTROLLER, PROGRAMMABLE LOGIC, WOODWARD, PROTECH TPS, 8237-2604 | PC | I04-PUCS-S-004 | 1
6 | 2070600044 | CONTROLLER, PROGRAMMABLE LOGIC, WOODWARD, 505D, 8200-1300 | PC | I02-PUCS-I-005 | 1
7 | 2070600045 | CONTROLLER, PROGRAMMABLE LOGIC, WOODWARD, PEAK200, 8200-1502 | PC | I11-PUCS-I-002, I12-PUCS-I-301 | 1
8 | 2000202660 | CD INCLUDING SOFTWARE, 8929-037, WOODWARD | PC | I11-PUCS-I-002, I12-PUCS-I-301 | 1
9 | 2070300103 | SENSOR, MAGNETIC PICKUP SPEED, MODEL: M219, MANUF: DYNALCO, THREAD 5/8-18UNF-3.5IN, TEMPERATURE OPERATING: -53 TO 121DEG C, RESISTANCE: 170 TO 210OHM, HOUSING: 303 STAINLESS STEEL | PC | 110-SE-6002A 110-SE-6002B 110-SE-6102A 110-SE-6102B 110-SE-6202A 110-SE-6202B 110-SE-6006A 110-SE-6006B 110-SE-6106A 110-SE-6106B 110-SE-6206A 110-SE-6206B 110-SE-6302A 110-SE-6302B 110-SE-6306A 110-SE-6306B 123-SE-6301 123-SE-6401 102-SE-7301 110-SE-8001 110-SE-7801 | 10
10 | 2070357539 | SENSOR, MAGNETIC PICK-UP, MANUF: DYNALCO, PART#: M180, STAINLESS STEEL, THREAD 5/8-18 UNF-2A | PC | 103-SE-7005 103-SE-7004A 103-SE-7004B 103-SE-7003A 103-SE-7003B 103-SE-7003C 103-SE-7105 103-SE-7104A 103-SE-7104B 103-SE-7103A 103-SE-7103B 103-SE-7103C 103-SE-7205 103-SE-7204A 103-SE-7204B 103-SE-7203A 103-SE-7203B 103-SE-7203C | 10
11 | 2080200295 | FILTER, CARTRIDGE, MANUF: DONALDSON, MODEL: P167181, GTG SERVO VALVE FILTER | EA | 112-PZV-7007, 112-PZV-7507, 112-FZV-7008, 112-FZV-7508, 112-UZV-7131, 112-UZV-7631, 112-FV-7130, 112-FV-7630 | 8
12 | 2070255782 | TRANSDUCER, SEISMIC VELOCITY, P/N: 5485C-007-020, GE PART: 392A8991P002, MANUF: METRIX | PC | 112-VZE-7508,112-VZE-7507,112-VZE-7506,112-VZE-7505,112-VZE-7008,112-VZE-7007,112-VZE-7006,112-VZE-7005 | 3
13 | 2040565048 | OEM, RING, PISTON, 6IN, CARBON - GRAPHITE FOR OXIDIZING SERVICE, FMS17F27, PN: 17A3990X012, FISHER | EA | 112-UV-7163, 112-UV-7663 | 6
14 | 2070144205 | GASKET SET, CONSISTS OF: BONNET GASKET GRAPHITE/S31600 SS ALLOY, CAGE GASKET GRAPHITE/S31600 SS ALLOY, SPIRAL WOUND GASKET INCONEL N06600/GRAPHITE, SEAT RING GASKET GRAPHITE/S31600 SS ALLOY, ADAPTOR GASKET GRAPHITE/S31600 SS ALLOY, SHIM S31600 SS ALLOY, -325 TO, 1100DEG F, PART#: RGASKETX392 | SET | 112-UV-7163, 112-UV-7663, 014-FV-0117, 011-PV-0254 , 045-FV-0101 | 2
15 | 2040455831 | VALVE, SOLENOID, 12BAR, 0.25IN NPT, 125VDC, 4.6W, MODEL: IC03S, PART#: Y013AA1V2SS, MANUF: MAXSEAL | EA | 112-UY-7523,112-UY-7023,112-UY-7715,112-UV-7524,112-UY-7215,112-UV-7024 | 4
16 | 2060122577 | SWITCH, LIMIT, 250A, FUSIBLE, ES-3022 | EA | 061-Y-816A, 061-Y-866A, 112-USL-7264, 112-USL-7265, 112-UY-7024, 112-UY-7524,112-UY-7009, 112-UY-7509,112-UY-7023, 112-UY-7523,112-UZY-7006, 112-UZY-7506,112-UY-7129, 112-UY-7629,112-UY-7189B, 112-UY-7689B | 2
17 | 2040455676 | VALVE, SOLENOID VALVE, MAXSEAL ICO3S DUAL SEAL, PART: Y013AA3H1BS | PC | 041-UY-6541, 041-UY-6540, 041-UY-6501, 041-UY-6500, 112-A-001, 112-A-002 | 4
18 | 2060126774 | PICK-UP, MAGNETIC SPEED, MODEL: 70085-1010-330, MANUF: AITEK | PC | 110-SE-7412B,110-SE-7412A,110-SE-7410C,110-SE-7410B,110-SE-7410A,110-SE-7312B,110-SE-7312A,110-SE-7310C,110-SE-7310B,110-SE-7310A,110-SE-7112B,110-SE-7112A,110-SE-7110C,110-SE-7110B,110-SE-7110A,110-PST-002B,110-PST-002A,110-PST-001B,110-PST-001A,121-KST-101B,121-KST-101A | 10
19 | 2019931174 | BEARING, REAR, FOR POSITIVE DISPLACEMENT METER 002/11 | PC | 110-FT-6x14 | 6
20 | 2019931175 | BEARING, FRONT, FOR POSITIVE DISPLACEMENT METER 002/11 | PC | 110-FT-6x14 | 6
21 | 2015131177 | GEAR, ROTOR, POSITIVE DISPACEMENT METER 002/11 | PC | 110-FT-6x14 | 6
22 | 2015131178 | GEAR, MAGNETIC COUPLING, POSITIVE DISPACEMENT METER 002/11 | PC | 110-FT-6x14 | 6
23 | 2060131180 | TRANSMISSION, MAGNETIC, FOR POSITIVE DISPLACEMENT METER 002/11 | PC | 110-FT-6x14 | 6
24 | 2019931167 | BUSHING, REAR, CARBON, PN 14, POSITIVE DISPACEMENT (PD) FLOW METER, FM53-H-C5, 002/53 | PC | 110-FT-6x111, 6x13 | 12
25 | 2019931168 | BUSHING, FRONT, CARBON, PN 23, POSITIVE DISPACEMENT (PD) FLOW METER, FM53-H-C5, 002/53 | PC | 110-FT-6x111, 6x13 | 12
26 | 2060131173 | TRANSMISSION, MAGNETIC, FOR POSITIVE DISPLACEMENT METER 002/53 | PC | 110-FT-6x111, 6x13 | 6
27 | 2070144890 | OEM, RING, BACK-UP, FLUOROCARBON FMS17G34, PART#: 1V659605292, MANUF: FISHER | PC | 123-FV-0013,123-FV-0009,123-FV-0004,123-FV-0002,112-PV-0002,112-FV-0001,080-FV-0044,014-FV-0307,013-HV-0101,013-FV-0003,011-FV-0006,010-PV-0432,010-FV-0083,010-FV-0082,049-FV-0211,049-FV-0208,047-FV-0206,046-FV-0301,046-FV-0213,112-UV-7163 | 6
28 | 2095620487 | OEM, PACKING SET, ENVIROSEAL PTFE[14…..202], PART#: RPACKX00202, MANUF: FISHER | SET | 112-PV-0002A, 112-PV-0002 | 2
29 | 2070144443 | GASKET SET, VALVE, INCONEL ALLOY 600 UNS N06600/GRAPHITE, CONSISTS OF: BONNET GASKET, SEAT RING GAS | SET | 113-TV-7412,113-TV-7312,110-TV-0059A,110-TV-0001A,011-TV-5012A,014-PDV-7122 | 6
30 | 2040757193 | GAUGE, PRESSURE, CAPSULE, -1 TO 1KPA, 0.5IN NPTM, DIAL 100MM, 316SS, MNF:WISE, P/N: P4224A3EDJ42130 | PC | 112-PG-6111A, 112-PG-6111B, | 6
31 | 2070256030 | OEM, FLOW TRANSMITTER, EJA110E-JMSWG-919DD/KF22/C3/A/HE+2xDFS-USFH-WN5-01A2HCHC-F3C105/FRZZ/N5/BS6 | SET | 102-FT-0008 | 1
32 | 2060109154 | METER, FLOW, BYPASS ORIFICE, FLANGED, 0.45 TO 4/8 TO 75M3/H, 316 SS, 25MM PIPE SIZE | EA | 190-FI-6603,190-FI-6601,190-FI-6202,190-FI-6101,190-FI-6001,190-FI-6000 | 2
33 | 2070409181 | OEM, FLOW INDICATOR, 650 TO 750T/H, CONNECTION 16IN 300# RF CS, 1000KPA, ORIFICE TYPE, 316SS | PC | 103-FG-8002 , 103-FG-8003, 103-FG-8004 | 1
34 | 2021404659 | DETECTOR, FLAME, 24VDC 0.35/8.5A, 4 TO 20MA OUTPUT, 128MM DIA, 156MM WD, 339MM LG | PC | 190-BZT-7401A, 190-BZT-7401B, 190-BZT-7401C | 2
35 | 2070200028 | TRANSMITTER, DIFFERENTIAL PRESSURE TRANSMITTER,MNF: ROSEMOUNT, MODEL: 2051CD2A22A1BE1M5D4C1C4Q4Q8HR7 | PC | 112-LZT-6520C,112-LZT-6520B,112-LZT-6520A,112-LT-6901,112-LT-6900,112-LT-6521,112-LT-6401,112-LT-6400,112-LZT-6020C,112-LZT-6020B,112-LZT-6020A,112-LT-6021 | 5
36 | 2070200240 | TRANSMITTER, LCD DISPLAY, ROSEMOUNT, 00644-7730-0001 | PC | 112-TZT-6601A/B/C, 112-TZT-6541A/B/C,… | 10
37 | 2020500112 | PUSH BUTTON, EMERGENCY STOP, IP66/IP67, PULL TO RELEASE, P/N: 05-0003-000800, MANUF: BARTEC | PC | 013-HZS-0306/0304. | 20
38 | 2020500113 | BUTTON, UN DIN RAIL MOUNT, EMERGENCY PUSH BUTTON, 1NC+1NO, IP66, 690V, P/N: 07-3321-1400, MANUF: BARTEC | PC | 013-HZS-0306/0304. | 20
39 | 2020500114 | BUTTON, UN ACTUATOR NUT WRENCH, 1NC+1NO, P/N: 05-1191-0001, MANUF: BARTEC | PC | 013-HZS-0306/0304. | 2
40 | 2020720240 | TERMINAL, TERMINAL BLOCK, WDU2.5, MANUF: WEIDMULLER, P/N: 1020000000 | PC | 013-HZS-0306/0304. | 100
41 | 2020757690 | TERMINAL, END PLATE, WAP 2.5-10, MANUF: WEIDMULLER, P/N: 1050000000 | PC | 013-HZS-0306/0304. | 100
42 | 2020757691 | TERMINAL, END BRACKET, WEW 35/2, MANUF: WEIDMULLER, P/N: 1061200000 | PC | 013-HZS-0306/0304. | 100
43 | 2079950687 | TERMINAL BLOCK, PHOENIX CONTACT, UK5-HESILED-GY-24-I, 3004126 | PC | Ixx-PUCS, LCP | 100
44 | 2079950688 | TERMINAL BLOCK, PHOENIX CONTACT, UDMTK 5-P/P, 3101087 | PC | Ixx-PUCS, LCP | 100
45 | 2000200552 | GAUGE, LEVEL, PARTS, ITEM: FLOAT, SIZE: 450MM (L), MATERIAL: TITANIUM, OEM DRAWING NUMBER: 15A-N, POSITION NUMBER: 4, EQPT MODEL: SMF-50A, EQPT MANUFACTURER: SAMIL, ADDITIONAL INFORMATION: SPECIFIC GRAVITY: 0.6, FLOAT MODEL: SFL-50-TI, NSRP DOC No: VS216G-505-A-901, QA/QC DOCUMENT REQUIRED: YES, CO, CQ, TEST CERTIFICATE | SET | 014-LG-0116, 112-LG-0001, 112-LG-0002 | 5
46 | 2000200553 | GAUGE, LEVEL, PARTS, ITEM: FLOAT, SIZE: 400MM (L), MATERIAL: TITANIUM, OEM DRAWING NUMBER: 15A-N, POSITION NUMBER: 4, EQPT MODEL: SMF-50A, EQPT MANUFACTURER: SAMIL, ADDITIONAL INFORMATION: SPECIFIC GRAVITY: 0.582, FLOAT MODEL: SFL-50-TI, NSRP DOC No: VJS216G-505-A-201, QA/QC DOCUMENT REQUIRED: YES, CO, CQ, TEST CERTIFICATE | SET | 028-LG-0502, 013-LG-0203A, 013-LG-0203B, 013-LG-0203C, 013-LG-0110, 014-LG-0115, 110-LG-0024, 044-LG-0202, 044-LG-0360, 044-LG-0363 | 6
47 | 2000200554 | GAUGE, LEVEL, PARTS, ITEM: MAGNETIC INDICATOR SET, ITEM TYPE: INDICATOR CASE & MAGNETIC ROLLER, SIZE: 1000MM, MATERIAL: ALUMINUM & MAGNETIC, OEM DRAWING NUMBER: 15A-N, POSITION NUMBER: 2 & 3, EQPT MODEL: SMF-50A, EQPT MANUFACTURER: SAMIL, ADDITIONAL INFORMATION: MAGNETIC INDICATOR MODEL: SMI-AL, SPECIFIC GRAVITY: 0.6, NSRP DOC NO: VS216G-505-A-901, QA/QC DOCUMENT REQUIRED: YES, CO, CQ, TEST CERTIFICATE | SET | 014-LG-0116, 011-LG-0006, 011-LG-0026, 011-LG-0036, 011-LG-0062, 011-LG-0133, 011-LG-0137, 011-LG-0354, 012-LG-0111B, 013-LG-0110, 013-LG-0209, 014-LG-0115, 014-LG-0208, 014-LG-0351 | 5
48 | 2000200555 | GAUGE, LEVEL, PARTS, ITEM: MAGNETIC INDICATOR SET, ITEM TYPE: INDICATOR CASE & MAGNETIC ROLLER, SIZE: 3350MM, MATERIAL: ALUMINUM & MAGNETIC, OEM DRAWING NUMBER: 15A-N, POSITION NUMBER: 2 & 3, EQPT MODEL: SMF-50A, EQPT MANUFACTURER: SAMIL, ADDITIONAL INFORMATION: MAGNETIC INDICATOR MODEL: SMI-AL, SPECIFIC GRAVITY: 0.582, NSRP DOC No: VJS216G-505-A-201, QA/QC DOCUMENT REQUIRED: YES, CO, CQ, TEST CERTIFICATE | SET | 028-LG-0502 | 1
2. Specifications and Technical Requirements Goods must comply with Specifications and Technical Requirements & provide technical documents that indicates the information of the Goods.
3. Supplier's Document Requirement: Goods shall be brand new with CO, CQ and certificates related to safety requirements. as applicable. Goods shall be stored, packaged and delivered as manufacturer standard Supplier shall provide technical documents for NSRP’s review e.g., material manual, specification, datasheet, ordering information (if any).
4. Obsoleted or Equivalent material If required material is obsoleted and confirmed officially by manufacturer, Supplier shall provide recommendation with equivalent material. Any technical deviation between required material and proposed material shall be clearly specified
5. Delivery time and Delivery Location: From 8:00AM to 17:00PM from Monday to Friday day per week The Goods shall be delivered to NSRP’s warehouse
6. Warranty: Supplier shall provide the warranty of the Goods in compliance with the policy of Manufacturer and from date of hand over to NSRP
Create
Update
Cancel