## Cathodic
Appendix 1_Estimated Cathodic material Q'ty for 3 Years
NO. | CMMS CODE | CMMS LONG DESCRIPTION | MANU/VENDOR | OEM/ Vendor Part No | UNIT | Qty for 2025 | Qty for 2026 | Qty for 2027 | Lead time | REMARK
1 | 2000100170 | ANODE, MANUFACTURER: TELPRO, MODEL/PART NUMBER: TELTUB1000MA, TYPE: M.M.O WIRE SOCK, MATERIAL: COMPOSITION (IRIDIUM, TANTALUM AND TITANIUM OXIDES ON TITANIUM BASE), DIMENSION: 3.0MM, ADDITIONAL INFORMATION: PIGGYBACKED TYPE (FOR CW PIPE), STANDARDS: ASTM B863 GRADE 1, COATING: ELECTRO CATALYTIC MIXED METAL OXIDE, LEAD CABLE LENGTH 50M, QA/QC DOCUMENT REQUIRED: CO/CQ | TELPRO | TELTUB1000MA | PC | 2 | 2 | 2 | 180 days
2 | 2029951063 | ANODE, TUBULAR, MANUFACTURER: BORIN, MODEL/PART NUMBER: SRE-007-CUY, TYPE: REFERENCE ELECTRODE, SIZE: DIAMETER 38MM X 180MM, RATED CURRENT: NOT APPLICABLE, MATERIAL: CU/CUSO4, ADDITIONAL INFORMATION: LEAD CABLE LENGTH 15M, FOR CW PIPE, U/G PIPELINE, HYDRANT AND MONITOR), QA/QC DOCUMENT REQUIRED: CO/CQ | BORIN | SRE-007-CUY | EA | 2 | 2 | 3 | 180 days
3 | 2029951064 | ANODE, TUBULAR, MANUFACTURER: BORIN, MODEL/PART NUMBER: SRE-004-SFB-NSW, TYPE: REFERENCE ELECTRODE, SIZE: DIAMETER 34MM X 210MM, RATED CURRENT: NOT APPLICABLE, MATERIAL: AG/AGCL , ADDITIONAL INFORMATION: LEAD CABLE LENGTH 30M, FOR TANK INTERNAL, INTAKE FACILITY, PUMP, QA/QC DOCUMENT REQUIRED: CO/CQ | BORIN | SRE-004-SFB | EA | 2 | 2 | 3 | 180 days
4 | 2021000079 | POWER SUPPLY UNIT, INPUT VOLTAGE: 100-240VAC, OUTPUT VOLTAGE: 24V, OUTPUT CURRENT: 0-5A, RATED POWER: 120W, OUTPUT ACCURACY: +/- 0.1%, AMBIENT TEMPERATURE RANGE: -20 to 70°C, MODEL: NDR-120-24, MANUFACTURER: MOXA, QA/QC DOCUMENT REQUIRED: CO/CQ | MOXA | DR-120-24 | PC | 1 | 2 | 2 | 180 days
5 | 2021058016 | ANODE, SACRIFICIAL, MANUFACTURER: DONGYANG, MODEL/PART NUMBER: ALW14010001, MATERIAL: ALUMIUM, CAPACITY, ELECTROCHEMICAL: 2.976 A.HR/KG, SOLUTION POTENTIAL: -1.1V to Ag/AgCl, DIMENSION: (140+110)X130X570, WEIGHT: 24.56KG, ADDITIONAL INFORMATION: USED FOR (TANK INTERNAL, INTAKE FACILITY, COOLING TOWER), CHEMICAL COMPOSITION: CU 0.01% MAX , SI 0.08~0.2% MAX, FE 0.12% MAX, ZN 2.8~3.5% MAX, IN 0.01~0.02%, AI REMAINDER , QA/QC DOCUMENT REQUIRED: CO/CQ | DONGYANG | ALW140110001 | PC | 2 | 2 | 2 | 180 days
6 | 2021058014 | ANODE, TUBULAR, MANUFACTURER: DONGYANG, MODEL/PART NUMBER: TELTUB1000MA, TYPE: M.M.O. TUBULAR, SIZE: 1INCH(25.4MM) DIA. X 39.4INCH(1000MM) L, RATED CURRENT: NOT APPLICABLE, MATERIAL: COMPOSITION: INDIUM/TANTALUM TYPE ON A TITANIUM TUBE SUBSTRATE, ADDITIONAL INFORMATION: FOR U/G PIPELINE, STANDARD: GRADE 1 ASTM B 338, COATING: ELECTRO CATALYTIC MIXED METAL OXIDE, QA/QC DOCUMENT REQUIRED: CO/CQ | TELPRO | TELTUB1000MA | PC | 5 | 2 | 2 | 180 days
7 | 2021058012 | ANODE, SACRIFICIAL, MANUFACTURER: DONGYANG, MODEL/PART NUMBER: YUXMGA17D3GA, MATERIAL: MAGNESIUM, CAPACITY, ELECTROCHEMICAL: 2, 200 A.hr/Kg, SOLUTION POTENTIAL: -1.5V TO CU/CUSO4 REF. ELECTRODE, DIMENSION: 90MM WIDTH X 96MM HIGH X 642MM LENGTH, , WEIGHT: 17 POUNDS (7.71KG), SIZE, END CONNECTION: OVERALL SIZE INCLUDE BACKFILL MATERIAL - 165MM DIAMETER X 760MM LENGTH, ADDITIONAL INFORMATION: FOR HYDRANT & MONITOR, IN-PLANT U/G PIPING, BACKFILL MATERIAL FOR ANODES SHALL CONSIST OF THE FOLLOWING SUBSTANCES: (GYPSUM: 75%, BENTONITE: 20%, SODIUM SULFATE: 5%), CHEMICAL COMPOSITION: AL 5.3 ~ 6.7 ZN 2.3 ~ 3.5, SI 0.3 MAX, CU 0.08 MAX, MN 0.25 MAX, FE 0.005 MAX, NI 0.003 MAX, PB 0.03 MAX, MG REMAINDER, QA/QC DOCUMENT REQUIRED: CO/CQ | DONGYANG | YUXMGA17D3GA | PC | 0 | 2 | 2 | 180 days
8 | 2000100171 | ANODE, SACRIFICIAL, MANUFACTURER: DONGYANG, MODEL/PART NUMBER: ALW75105001, MATERIAL: ALUMIUM, CAPACITY, ELECTROCHEMICAL: 2.976 A.HR/KG, SOLUTION POTENTIAL: -1.1V to Ag/AgCl, DIMENSION: (75+105)X 190 X 1250, WEIGHT: 29.59KG, ADDITIONAL INFORMATION: USED FOR (TANK INTERNAL, INTAKE FACILITY, COOLING TOWER), CHEMICAL COMPOSITION: CU 0.01% MAX , SI 0.08~0.2% MAX, FE 0.12% MAX, ZN 2.8~3.5% MAX, IN 0.01~0.02%, AI REMAINDER , QA/QC DOCUMENT REQUIRED: CO/CQ | DONGYANG | ALW75105001 | PC | 2 | 2 | 2 | 180 days
9 | 2021058015 | ANODE, SACRIFICIAL, MANUFACTURER: DONGYANG, MODEL/PART NUMBER: PTACOMMON, TYPE: ROD, MATERIAL: COMPOSITION: PLATINIZED TITANIUM ROD, CAPACITY, ELECTROCHEMICAL: NOT APPLICABLE, SOLUTION POTENTIAL: NOT APPLICABLE, DIMENSION: 19MM DIA. X 100MML OR 19MM DIA. X 200MML, SIZE, END CONNECTION: NOT APPLICABLE, ADDITIONAL INFORMATION: FOR SEA WATER INTAKE FACILITY, SEA WATER COOLING TOWER & PUMP INTERNAL, STANDARD: GRADE 1 OR 2 TITANIUM TO ASTM B348 OR EQUIVALENT, COATING: PLATINUM/ ELECTRO CATALYTIC MIXED METAL OXIDE, QA/QC DOCUMENT REQUIRED: CO/CQ | DONGYANG | PTACOMMON | PC | 0 | 5 | 10 | 180 days
10 | 2021300001 | CABLE, ELECTRICAL, NON ARMOURED, APPLICATION: CATHODIC ANODE LEAD CABLE, RATED VOLTAGE: 0.6/1KV, CONSTRUCTION: TINNED CU/KYNAR/HMWPE, MAT, CONDUCTOR: COPPER, MAT SPEC, INSULATION: KYNAR, MAT SPEC, INNER SHEATH: NOT APPLICABLE, MAT SPEC, OUTER SHEATH: HMWPE, NUMBER, CORES: 1, CROSS SECTION, CORES: 25SQMM, ADDITIONAL INFORMATION: FOR ANODE LEAD CABLE, QA/QC DOCUMENT REQUIRED: CO/CQ/TEST REPORT |  |  | M | 2000 | 1000 | 500 | 180 days
11 | 2021300004 | CABLE, ELECTRICAL, NON ARMOURED, APPLICATION: CATHODIC ANODE LEAD CABLE, RATED VOLTAGE: 0.6/1KV, CONSTRUCTION: TINNED CU/KYNAR/HMWPE, MAT, CONDUCTOR: COPPER, MAT SPEC, INSULATION: KYNAR, MAT SPEC, INNER SHEATH: NOT APPLICABLE, MAT SPEC, OUTER SHEATH: HMWPE, NUMBER, CORES: 1, CROSS SECTION, CORES: 16SQMM, ADDITIONAL INFORMATION: FOR ANODE LEAD CABLE, QA/QC DOCUMENT REQUIRED: CO/CQ/TEST REPORT |  |  | M | 2000 | 1000 | 500 | 180 days
12 | 2020100011 | CABLE, ELECTRICAL, NON ARMOURED, APPLICATION: CATHODIC ANODE LEAD CABLE, RATED VOLTAGE: 0.6/1KV, CONSTRUCTION: TINNED CU/XLPE/PVC, MAT, CONDUCTOR: COPPER, MAT SPEC, INSULATION: XLPE, MAT SPEC, INNER SHEATH: NOT APPLICABLE, MAT SPEC, OUTER SHEATH: PVC, NUMBER, CORES: 1, CROSS SECTION, CORES: 10SQMM, ADDITIONAL INFORMATION: FOR REFERENCE LEAD CABLE, QA/QC DOCUMENT REQUIRED: CO/CQ/TEST REPORT |  |  | M | 2000 | 1000 | 500 | 180 days
13 | 2020100012 | CABLE, ELECTRICAL, NON ARMOURED, APPLICATION: CATHODIC ANODE LEAD CABLE, RATED VOLTAGE: 0.6/1kV, CONSTRUCTION: TINNED CU/XLPE/PVC, MAT, CONDUCTOR: COPPER, MAT SPEC, INSULATION: XLPE, MAT SPEC, INNER SHEATH: NOT APPLICABLE, MAT SPEC, OUTER SHEATH: PVC, NUMBER, CORES: 1, CROSS SECTION, CORES: 25SQMM, ADDITIONAL INFORMATION: FOR HEADER CABLE (POSITIVE AND NEGATIVE), QA/QC DOCUMENT REQUIRED: CO/CQ/TEST REPORT |  |  | M | 2000 | 1000 | 500 | 180 days
14 | 2021057814 | CAPACITOR, TYPE: ELECTROLYTIC CAPACITOR, RATED VOLTAGE: 100V MIN, FREQUENCY: 50HZ, CAPACITANCE: 10000 µF, REACTIVE POWER: 160WV, TEMPERATURE RANGE: -40~85 DEG, MODEL: 10000µF-100V-Samwha, MANUFACTURER: SAMWHA, ADDITIONAL INFORMATION: PART NUMBER: CNDENSERFREE100-1,DC RADIAL ALUMINIUM ELECTROLYTIC CAPACITOR, QA/QC DOCUMENT REQUIRED: CO/CQ | SAMWHA | 10000µF-100V-Samwha/ CNDENSERFREE100-1 | PC | 25 | 10 | 5 | 180 days
15 | 2029950972 | PANEL, ELECTRICAL, PARTS, ITEM: REACTOR, PART NUMBER: DCREACTOR2020A, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: TAEIL, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | DCREACTOR2020A | PC | 1 | 1 | 2 | 180 days
16 | 2029950973 | PANEL, ELECTRICAL, PARTS, ITEM: REACTOR, PART NUMBER: DCREACTOR5050A, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: TAEIL, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | DCREACTOR5050A | PC | 1 | 1 | 2 | 180 days
17 | 2021058010 | PANEL, ELECTRICAL, PARTS, ITEM: DIODE MODULE, PART NUMBER: DF200AA160, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: SANREX, ADDITIONAL INFORMATION: VOLTAGE: 1600V, CURRENT: 200A, QA/QC DOCUMENT REQUIRED: CO/CQ | SANREX | DF200AA160 | PC | 2 | 1 | 2 | 180 days
18 | 2021058009 | PANEL, ELECTRICAL, PARTS, ITEM: BRIDGE DIODE, PART NUMBER: GBPC5010, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: NEXCON PLANTECH, ADDITIONAL INFORMATION: VOLTAGE: 1000V, CURRENT: 50A, , QA/QC DOCUMENT REQUIRED: CO/CQ | NEXCON PLANTECH | GBPC5010 | PC | 2 | 1 | 2 | 180 days
19 | 2020651752 | FUSE, POWER, TYPE: FAST BLOW, RATED VOLTAGE: 500V, RATED CURRENT: 20A, BREAKING CAPACITY: 120KA, SIZE: NH000, MODEL: NOT APPLICABLE, MANUFACTURER: SIEMENS, ADDITIONAL INFORMATION: OPERATING CLASS: GG, PART NUMBER: 3NA3807, QA/QC DOCUMENT REQUIRED: CO/CQ | SIEMENS | 3NA3807 | PC | 6 | 3 | 3 | 180 days
20 | 2020651751 | FUSE, POWER, TYPE: FAST BLOW, RATED VOLTAGE: 500V, RATED CURRENT: 50A, BREAKING CAPACITY: 120KA, SIZE: NH000, MODEL: NOT APPLICABLE, MANUFACTURER: SIEMENS, ADDITIONAL INFORMATION: OPERATING CLASS: GG, PART NUMBER: 3NA3820, QA/QC DOCUMENT REQUIRED: CO/CQ | SIEMENS | 3NA3820 | PC | 3 | 6 | 3 | 180 days
21 | 2020657853 | FUSE, POWER, TYPE: FAST BLOW, RATED VOLTAGE: 500V, RATED CURRENT: 80A, BREAKING CAPACITY: 120KA, SIZE: NH000, MODEL: NOT APPLICABLE, MANUFACTURER: SIEMENS, ADDITIONAL INFORMATION: OPERATING CLASS: GG, PART NUMBER: 3NA3824, QA/QC DOCUMENT REQUIRED: CO/CQ | SIEMENS | 3NA3824 | PC | 3 | 6 | 3 | 180 days
22 | 2020657855 | FUSE, POWER, TYPE: FAST BLOW, RATED VOLTAGE: 500V, RATED CURRENT: 35A, BREAKING CAPACITY: 120KA, SIZE: NH000, MODEL: NOT APPLICABLE, MANUFACTURER: SIEMENS, ADDITIONAL INFORMATION: OPERATING CLASS: GG, PART NUMBER: 3NA3814, QA/QC DOCUMENT REQUIRED: CO/CQ | SIEMENS | 3NA3814 | PC | 3 | 6 | 3 | 180 days
23 | 2020657859 | FUSE, POWER, TYPE: FAST BLOW, RATED VOLTAGE: 500V, RATED CURRENT: 125A, BREAKING CAPACITY: 120KA, SIZE: NH000, MODEL: NOT APPLICABLE, MANUFACTURER: SIEMENS, ADDITIONAL INFORMATION: OPERATING CLASS: GG, PART NUMBER: 3NA3832, QA/QC DOCUMENT REQUIRED: CO/CQ | SIEMENS | 3NA3832 | PC | 3 | 6 | 3 | 180 days
24 | 2021058008 | PANEL, ELECTRICAL, PARTS, ITEM: GPS MODULE, PART NUMBER: GPSMODULE, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: NEXCON PLANTECH, ADDITIONAL INFORMATION: FOR CATHODIC SYSTEM, QA/QC DOCUMENT REQUIRED: CO/CQ | NEXCON PLANTECH | GPSMODULE | PC | 2 | 1 | 2 | 180 days
25 | 2020451753 | PANEL, ELECTRICAL, PARTS, ITEM: POWER INDICATING LAMP, SIZE: ø30, PART NUMBER: YSPL3-AL11R, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: YONGSUNG, ADDITIONAL INFORMATION: VOLTAGE INPUT: 110AC, 50/60HZ, LAMP: 24V (20MA), COLOR: RED, , QA/QC DOCUMENT REQUIRED: CO/CQ | YONGSUNG | YSPL3-AL11R | PC | 0 | 1 | 2 | 180 days
26 | 2029951061 | PRINTED CIRCUIT BOARD, MANUFACTURER: NEXCON PLANTECH, MODEL / PART NUMBER: MAINBOARD20V20A, APPLICATION: MCOU MAIN CONTROL UNIT, RATED CURRENT: 20A, RATED VOLTAGE: 20V, FREQUENCY: 50HZ, CONNECTOR: BOLTS, ADDITIONAL INFORMATION: FOR CATHODIC SYSTEM, QA/QC DOCUMENT REQUIRED: CO/CQ | NEXCON PLANTECH | MAINBOARD20V20A | SET | 0 | 2 | 2 | 180 days
27 | 2029951062 | PRINTED CIRCUIT BOARD, MANUFACTURER: NEXCON PLANTECH, MODEL / PART NUMBER: MAINBOARD30V20A, APPLICATION: MCOU MAIN CONTROL UNIT, RATED CURRENT: 20A, RATED VOLTAGE: 30V, FREQUENCY: 50HZ, CONNECTOR: BOLTS, ADDITIONAL INFORMATION: FOR CATHODIC SYSTEM, QA/QC DOCUMENT REQUIRED: CO/CQ | NEXCON PLANTECH | MAINBOARD30V20A | SET | 0 | 2 | 2 | 180 days
28 | 2029950976 | PRINTED CIRCUIT BOARD, MANUFACTURER: NEXCON PLANTECH, MODEL / PART NUMBER: MAINBOARD50V50A, APPLICATION: MCOU MAIN CONTROL UNIT, RATED CURRENT: 50A, RATED VOLTAGE: 50V, FREQUENCY: 50HZ, CONNECTOR: BOLTS, ADDITIONAL INFORMATION: FOR CATHODIC SYSTEM, QA/QC DOCUMENT REQUIRED: CO/CQ | NEXCON PLANTECH | MAINBOARD50V50A | SET | 5 | 3 | 5 | 180 days
29 | 2060127402 | PANEL, ELECTRICAL, PARTS, ITEM: VARIABLE RESISTOR, PART NUMBER: RSCOMMON100, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: WOOJIN RESISTOR, ADDITIONAL INFORMATION: RATED POWER: 100W, RESISTANCE: 100OHM, QA/QC DOCUMENT REQUIRED: CO/CQ | WOOJIN RESISTOR | RSCOMMON100 | PC | 1 | 5 | 5 | 180 days
30 | 2060127403 | PANEL, ELECTRICAL, PARTS, ITEM: VARIABLE RESISTOR, PART NUMBER: RSCOMMON200, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: WOOJIN RESISTOR, ADDITIONAL INFORMATION: RATED POWER: 100W, RESISTANCE: 200OHM, QA/QC DOCUMENT REQUIRED: CO/CQ | WOOJIN RESISTOR | RSCOMMON200 | PC | 1 | 5 | 5 | 180 days
31 | 2040502593 | PANEL, ELECTRICAL, PARTS, ITEM: VARIABLE RESISTOR, PART NUMBER: RWH100G, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: KORYO ELECTRONIC, ADDITIONAL INFORMATION: RATED POWER: 100W, RESISTANCE: 0.5OHM, QA/QC DOCUMENT REQUIRED: CO/CQ | Koryo electronic | RWH100G | PC | 10 | 1 | 5 | 180 days
32 | 2020657854 | SCR, POWER MODULE, MANUFACTURER: NEXCON PLANTECH, MODEL / PART NUMBER: SCR2020A, TYPE: PLANAR TYPE, INPUT VOLTAGE: 19VAC, OUTPUT VOLTAGE: 20VDC, RATED POWER: NOT APPLICABLE, RATED CURRENT: 20A, QA/QC DOCUMENT REQUIRED: CO/CQ | NEXCON PLANTECH | SCR2020A | SET | 0 | 2 | 2 | 180 days
33 | 2020657862 | SCR, POWER MODULE, MANUFACTURER: NEXCON PLANTECH, MODEL / PART NUMBER: SCR3020A, TYPE: PLANAR TYPE, INPUT VOLTAGE: 27VAC, OUTPUT VOLTAGE: 30VDC, RATED POWER: NOT APPLICABLE, RATED CURRENT: 20A, QA/QC DOCUMENT REQUIRED: CO/CQ | NEXCON PLANTECH | SCR3020A | SET | 1 | 2 | 2 | 180 days
34 | 2020657740 | SCR, POWER MODULE, MANUFACTURER: NEXCON PLANTECH, MODEL / PART NUMBER: SCR5050A, TYPE: PLANAR TYPE, INPUT VOLTAGE: 44VAC, OUTPUT VOLTAGE: 50VDC, RATED POWER: NOT APPLICABLE, RATED CURRENT: 50A, QA/QC DOCUMENT REQUIRED: CO/CQ | NEXCON PLANTECH | SCR5050A | SET | 3 | 3 | 3 | 180 days
35 | 2021000015 | PRINTED CIRCUIT BOARD, MANUFACTURER: NEXCON PLANTECH, MODEL / PART NUMBER: MAINBOARD20V20A, APPLICATION: RECTIFIER UNIT, RATED CURRENT: 20A, RATED VOLTAGE: 20V, FREQUENCY: 50HZ, CONNECTOR: BOLTS, ADDITIONAL INFORMATION: PLUG CARD TYPE HMI BUILT IN WITH RECTIFIER FOR SWCT AND SEAWATER INTAKE OF CATHODIC SYSTEM, QA/QC DOCUMENT REQUIRED: CO/CQ | NEXCON PLANTECH | MAINBOARD20V20A | SET | 0 | 2 | 2 | 180 days
36 | 2021000016 | PRINTED CIRCUIT BOARD, MANUFACTURER: NEXCON PLANTECH, MODEL / PART NUMBER: MAINBOARD20V30A, APPLICATION: RECTIFIER UNIT, RATED CURRENT: 30A, RATED VOLTAGE: 20V, FREQUENCY: 50HZ, CONNECTOR: BOLTS, ADDITIONAL INFORMATION: PLUG CARD TYPE HMI BUILT IN WITH RECTIFIER FOR SWCT AND SEAWATER INTAKE OF CATHODIC SYSTEM, QA/QC DOCUMENT REQUIRED: CO/CQ | NEXCON PLANTECH | MAINBOARD20V30A | SET | 0 | 2 | 2 | 180 days
37 | 2060127404 | PANEL, ELECTRICAL, PARTS, ITEM: SHUNT, PART NUMBER: SHUNT5030, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: DAEBOONG, ADDITIONAL INFORMATION: 30A/50MV, QA/QC DOCUMENT REQUIRED: CO/CQ | DAEBOONG | SHUNT5030 | PC | 5 | 2 | 2 | 180 days
38 | 2029950977 | PANEL, ELECTRICAL, PARTS, ITEM: SHUNT, PART NUMBER: SHUNT5075, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: DAEBOONG, ADDITIONAL INFORMATION: 75A/50MV, QA/QC DOCUMENT REQUIRED: CO/CQ | DAEBOONG | SHUNT5075 | PC | 2 | 5 | 2 | 180 days
39 | 2000100168 | PANEL, ELECTRICAL, PARTS, ITEM: SHUNT, PART NUMBER: SHUNT5010, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: DONG YANG, ADDITIONAL INFORMATION: 10A/50MV, QA/QC DOCUMENT REQUIRED: CO/CQ | DONG YANG | SHUNT5010 | PC | 0 | 2 | 2 | 180 days
40 | 2000100169 | PANEL, ELECTRICAL, PARTS, ITEM: SHUNT, PART NUMBER: SHUNT5020, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: DONG YANG, ADDITIONAL INFORMATION: 20A/50MV, QA/QC DOCUMENT REQUIRED: CO/CQ | DONG YANG | SHUNT5020 | PC | 1 | 3 | 5 | 180 days
41 | 2070255829 | TRANSDUCER, CURRENT, MANUFACTURER: SCON INC, MODEL: SCN-DSC-R8, POWER SUPPLY: 110/220V, SIGNAL, OUTPUT: INPUT 0 TO 30A, OUTPUT DC 4-20MA, QA/QC DOCUMENT REQUIRED: CO/CQ | SCON INC | SCN-DSC-R8 | PC | 2 | 2 | 2 | 180 days
42 | 2029950974 | TRANSDUCER, CURRENT, MANUFACTURER: SCON INC, MODEL: SCONI-DSC-A8NX, POWER SUPPLY: 110/220V, SIGNAL, OUTPUT: INPUT DC 0~50MV, OUTPUT DC 4-20MA, QA/QC DOCUMENT REQUIRED: CO/CQ | SCON INC | SCONI-DSC-A8NX | PC | 2 | 1 | 2 | 180 days
43 | 2070255830 | TRANSDUCER, VOLTAGE, MANUFACTURER: SCON INC, MODEL: SCN-DSC-R8, POWER SUPPLY: 110/220V, SIGNAL, OUTPUT: INPUT 0 TO 30V, OUTPUT DC 4-20MA, MOUNTING: DIN RAIL, QA/QC DOCUMENT REQUIRED: CO/CQ | SCON INC | SCN-DSC-R8 | PC | 1 | 2 | 2 | 180 days
44 | 2070255831 | TRANSDUCER, VOLTAGE, MANUFACTURER: SCON INC, MODEL: SCN-DSC-A8, POWER SUPPLY: 110/220V, SIGNAL, OUTPUT: INPUT 0 TO 50V, OUTPUT DC 4-20MA, MOUNTING: DIN RAIL, QA/QC DOCUMENT REQUIRED: CO/CQ | SCON INC | SCN-DSC-A8 | PC | 2 | 1 | 3 | 180 days
45 | 2029950975 | TRANSDUCER, VOLTAGE, MANUFACTURER: SCON INC, MODEL: SCN-DSC-R88X, POWER SUPPLY: 110/220V, SIGNAL, OUTPUT: INPUT 0 TO 75V, OUTPUT DC 4-20MA, MOUNTING: DIN RAIL, QA/QC DOCUMENT REQUIRED: CO/CQ | SCON INC | SCN-DSC-R88X | PC | 2 | 1 | 3 | 180 days
46 | 2020657847 | TRANSFORMER, POWER, TYPE: DRY TYPE, PHASE: 1P, RATED FREQUENCY: 50HZ, INPUT VOLTAGE: 400V, OUTPUT VOLTAGE: 110, 24V, OUTPUT CURRENT: NOT APPLICABLE, RATED POWER: 400VA, VECTOR GROUP: NOT APPLICABLE, INSULATION CLASS: B, COOLING METHOD: NOT APPLICABLE, INGRESS PROTECTION: NOT APPLICABLE, MODEL: ATFCOMMON110400, MANUFACTURER: TAEIL, ADDITIONAL INFORMATION: AUX. TRANSFORMER, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | ATFCOMMON110400 | SET | 1 | 2 | 2 | 180 days
47 | 2020657962 | TRANSFORMER, POWER, TYPE: DRY TYPE, PHASE: 1P, RATED FREQUENCY: 50HZ, INPUT VOLTAGE: 400V, OUTPUT VOLTAGE: 110, 24V, OUTPUT CURRENT: NOT APPLICABLE, RATED POWER: 400VA, VECTOR GROUP: NOT APPLICABLE, INSULATION CLASS: B, COOLING METHOD: NOT APPLICABLE, INGRESS PROTECTION: NOT APPLICABLE, MODEL: ATR400, MANUFACTURER: TAEIL, ADDITIONAL INFORMATION: AUX. TRANSFORMER, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | ATR400 | SET | 1 | 2 | 2 | 180 days
48 | 2020657963 | TRANSFORMER, RECTIFIER, RECTIFIER TYPE: SCR, TYPE: OIL COOLED, RATED INPUT VOLTAGE: 400V, RATED OUTPUT VOLTAGE: 35V, RATED FREQUENCY: 50HZ, RATED POWER: 3.5KVA, INGRESS PROTECTION: NOT APPLICABLE, MODEL: MTR 3.5K 35V, MANUFACTURER: TAEIL, ADDITIONAL INFORMATION: FOR CATHODIC TRNANSFORMER RECTIFIER, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | MTR 3.5K 35V | PC | 1 | 2 | 2 | 180 days
49 | 2020657964 | TRANSFORMER, RECTIFIER, RECTIFIER TYPE: SCR, TYPE: OIL COOLED, RATED INPUT VOLTAGE: 400V, RATED OUTPUT VOLTAGE: 35V, RATED FREQUENCY: 50HZ, RATED POWER: 2.5KVA, INGRESS PROTECTION: NOT APPLICABLE, MODEL: MTR 2.5K 35V, MANUFACTURER: TAEIL, ADDITIONAL INFORMATION: FOR CATHODIC TRNANSFORMER RECTIFIER, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | MTR 2.5K 35V | PC | 1 | 2 | 2 | 180 days
50 | 2020657965 | TRANSFORMER, RECTIFIER, RECTIFIER TYPE: SCR, TYPE: OIL COOLED, RATED INPUT VOLTAGE: 400V, RATED OUTPUT VOLTAGE: 85V, RATED FREQUENCY: 50HZ, RATED POWER: 3.5KVA, MANUF, INGRESS PROTECTION: NOT APPLICABLE, MODEL: MTR 3.5K 85V, MANUFACTURER: TAEIL, ADDITIONAL INFORMATION: FOR CATHODIC TRNANSFORMER RECTIFIER, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | MTR 3.5K 85V | PC | 1 | 2 | 2 | 180 days
51 | 2020657966 | TRANSFORMER, RECTIFIER, RECTIFIER TYPE: SCR, TYPE: OIL COOLED, RATED INPUT VOLTAGE: 400V, RATED OUTPUT VOLTAGE: 35V, RATED FREQUENCY: 50HZ, RATED POWER: 5.5KVA, INGRESS PROTECTION: NOT APPLICABLE, MODEL: MTR 5.5K 35V, MANUFACTURER: TAEIL, ADDITIONAL INFORMATION: FOR CATHODIC TRNANSFORMER RECTIFIER, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | MTR 5.5K 35V | PC | 1 | 2 | 2 | 180 days
52 | 2020657967 | TRANSFORMER, RECTIFIER, RECTIFIER TYPE: SCR, TYPE: OIL COOLED, RATED INPUT VOLTAGE: 400V, RATED OUTPUT VOLTAGE: 19V, RATED FREQUENCY: 50HZ, RATED POWER: 1.0KVA, INGRESS PROTECTION: NOT APPLICABLE, MODEL: MTR 1.0K 19V, MANUFACTURER: TAEIL, ADDITIONAL INFORMATION: FOR CATHODIC TRNANSFORMER RECTIFIER, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | MTR 1.0K 19V | PC | 2 | 2 | 2 | 180 days
53 | 2020657968 | TRANSFORMER, RECTIFIER, RECTIFIER TYPE: SCR, TYPE: OIL COOLED, RATED INPUT VOLTAGE: 400V, RATED OUTPUT VOLTAGE: 44V, RATED FREQUENCY: 50HZ, RATED POWER: 4.0KVA, INGRESS PROTECTION: NOT APPLICABLE, MODEL: MTR 4.0K 44V, MANUFACTURER: TAEIL, ADDITIONAL INFORMATION: FOR CATHODIC TRNANSFORMER RECTIFIER, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | MTR 4.0K 44V | PC | 1 | 2 | 2 | 180 days
54 | 2020657969 | TRANSFORMER, RECTIFIER, RECTIFIER TYPE: SCR, TYPE: OIL COOLED, RATED INPUT VOLTAGE: 400V, RATED OUTPUT VOLTAGE: 27V, RATED FREQUENCY: 50HZ, RATED POWER: 1.0KVA, INGRESS PROTECTION: NOT APPLICABLE, MODEL: MTR 1.0K 27V, MANUFACTURER: TAEIL, ADDITIONAL INFORMATION: FOR CATHODIC TRNANSFORMER RECTIFIER, QA/QC DOCUMENT REQUIRED: CO/CQ | TAEIL | MTR 1.0K 27V | PC | 1 | 2 | 2 | 180 days
55 | 2020950734 | THERMOSTAT, ELECTRICAL, MANUFACTURER: CYMAX, MODEL: CYIT-90, TYPE: LINE-VOLTAGE, RATED VOLTAGE: 220V, RATED POWER: 60W, TEMPERATURE RANGE: 0-90DEG, CONNECTION, ELECTRICAL: BOLT, MOUNTING: DIN RAIL, DIMENSION: NOT APPLICABLE, CLASSIFICATION, HAZARD AREAS: NOT APPLICABLE, INGRESS PROTECTION: NOT APPLICABLE, QA/QC DOCUMENT REQUIRED: CO/CQ | CYMAX | CYIT-90 | PC | 10 | 3 | 3 | 180 days
56 | 2021154621 | PANEL, ELECTRICAL, PARTS, ITEM: HEATER, PART NUMBER: SK 3105.340, OEM DRAWING NUMBER: NOT APPLICABLE, POSITION NUMBER: NOT APPLICABLE, EQPT MANUFACTURER: RITTAL, ADDITIONAL INFORMATION: SPACE HEATER, VOLTAGE: 110-240VAC, FREQUECY: 50/60HZ, POWER CONSUMPTION: 49-50W, QA/QC DOCUMENT REQUIRED: CO/CQ | RITTAL | SK 3105.340 | PC | 1 | 3 | 5 | 180 days
57 | 2021000080 | PRINTED CIRCUIT BOARD, MANUFACTURER: NEXCON PLANTECH, MODEL / PART NUMBER: ACSUB 1.0, APPLICATION: DC OUTPUT SURGE ABSORBER, RATED CURRENT: NOT APPLICABLE, RATED VOLTAGE: HIGH VOLTAGE SURGE VARISTOR 1100V CLAMPING VOLTAGE 1650V, LOW VOLTAGE SURGE VARISTOR 150V CLAMPING VOLTAGE 250V, FREQUENCY: NOT APPLICABLE, CONNECTOR: BOLTS, ADDITIONAL INFORMATION: FOR CATHODIC SYSTEM, QA/QC DOCUMENT REQUIRED: CO/CQ | DONGYANG | ACSUB 1.0 | PC | 0 | 2 | 2 | 180 days