## Sheet1
STT | Purchase Req | Item of Requisition | Material | Short text | Long text | Quantity | Unit of Measure | Delivery date
1 | MI250102 | 10 | 2040700068 | GAUGE, PRESSURE, CAPSULE, -250~250PA, 0. | GAUGE, PRESSURE, CAPSULE, -250~250PA, 0.5IN NPT, SS316, NESSTECH, PPC96X192XV | 3 | PC | 28.04.2025
2 | MI250102 | 20 | 2000200490 | CALIBRATION POT, 2000 CC, 860 MM, GLASS, | CALIBRATION POT, VOLUME CAPACITY: 2000 CC, SIZE / DIMENSION: 860 MM, MATERIAL, CONTAINER: GLASS, MATERIAL, SIGHT GLASS: GLASS, MATERIAL, FLANGE: SUS316, PROCESS CONNECTION, INLET/OUTLET: ANSI B16.5 150# RF 0.75 IN/0.75 IN, MAX OPERATING PRESSURE: 141 KPA, DRAWING NUMBER: VS2158-164-A-010, ADDITIONAL INFORMATION: MINIMUM SCALE OF MEASURING GLASS: 10 ML, QA/QC DOCUMENT REQUIRED: CO/CQ, TEST CER | 1 | SET | 28.04.2025
3 | MI250102 | 30 | 2000200491 | CALIBRATION POT, 15000 CC, 744 MM, SUS31 | CALIBRATION POT, VOLUME CAPACITY: 15000 CC, SIZE / DIMENSION: 744 MM, MATERIAL, CONTAINER: SUS316, MATERIAL, SIGHT GLASS: GLASS, MATERIAL, FLANGE: SUS316, PROCESS CONNECTION, INLET/OUTLET: ANSI 300# RF 1.5 IN/1.5 IN, MAX OPERATING PRESSURE: 511 KPA, DRAWING NUMBER: VS2158-164-A-020, ADDITIONAL INFORMATION: MINIMUM SCALE OF MEASURING GLASS: 9.48 ML, QA/QC DOCUMENT REQUIRED: CO/CQ, TEST CER | 1 | SET | 28.04.2025
4 | MI250102 | 40 | 2000200492 | CALIBRATION POT, 50 CC, 438 MM, GLASS, S | CALIBRATION POT, VOLUME CAPACITY: 50 CC, SIZE / DIMENSION: 438 MM, MATERIAL, CONTAINER: GLASS, MATERIAL, SIGHT GLASS: GLASS, MATERIAL, FLANGE: SUS316, PROCESS CONNECTION, INLET/OUTLET: ANSI 150# RF 0.5 IN/0.5 IN, MAX OPERATING PRESSURE: 24 KPA, DRAWING NUMBER: VS2158-164-A-030, ADDITIONAL INFORMATION: MINIMUM SCALE OF MEASURING GLASS: 1 ML, QA/QC DOCUMENT REQUIRED: CO/CQ, TEST CER | 2 | SET | 28.04.2025
5 | MI250102 | 50 | 2000200493 | CALIBRATION POT, 30 CC, 438 MM, GLASS, S | CALIBRATION POT, VOLUME CAPACITY: 30 CC, SIZE / DIMENSION: 438 MM, MATERIAL, CONTAINER: GLASS, MATERIAL, SIGHT GLASS: GLASS, MATERIAL, FLANGE: SUS316, PROCESS CONNECTION, INLET/OUTLET: ANSI 150# RF 0.5 IN/0.5 IN, MAX OPERATING PRESSURE: 350 KPA, DRAWING NUMBER: VS2158-164-A-040, ADDITIONAL INFORMATION: MINIMUM SCALE OF MEASURING GLASS: 1 ML, QA/QC DOCUMENT REQUIRED: CO/CQ, TEST CER | 3 | SET | 28.04.2025
6 | MI250102 | 60 | 2000200494 | CALIBRATION POT, 15000 CC, 670 MM, SUS31 | CALIBRATION POT, VOLUME CAPACITY: 15000 CC, SIZE / DIMENSION: 670 MM, MATERIAL, CONTAINER: SUS316, MATERIAL, SIGHT GLASS: GLASS, MATERIAL, FLANGE: SUS316, PROCESS CONNECTION, INLET/OUTLET: ANSI 150# RF 1.5 IN/0.75 IN, MAX OPERATING PRESSURE: 363 KPA, DRAWING NUMBER: VS2158-164-A-050, ADDITIONAL INFORMATION: MINIMUM SCALE OF MEASURING GLASS: 9 ML, QA/QC DOCUMENT REQUIRED: CO/CQ, TEST CER | 1 | SET | 28.04.2025
7 | MI250102 | 70 | 2000200495 | CALIBRATION POT, 6000 CC, 590 MM, SUS316 | CALIBRATION POT, VOLUME CAPACITY: 6000 CC, SIZE / DIMENSION: 590 MM, MATERIAL, CONTAINER: SUS316, MATERIAL, SIGHT GLASS: GLASS, MATERIAL, FLANGE: SUS316, PROCESS CONNECTION, INLET/OUTLET: ANSI 300# RF 0.75 IN/0.75 IN, MAX OPERATING PRESSURE: 28 KPA, DRAWING NUMBER: VS2158-164-A-060, ADDITIONAL INFORMATION: MINIMUM SCALE OF MEASURING GLASS: 4.2 ML, QA/QC DOCUMENT REQUIRED: CO/CQ, TEST CER | 1 | SET | 28.04.2025
8 | MI250102 | 80 | 2000200496 | CALIBRATION POT, 30 CC, 438 MM, GLASS, S | CALIBRATION POT, VOLUME CAPACITY: 30 CC, SIZE / DIMENSION: 438 MM, MATERIAL, CONTAINER: GLASS, MATERIAL, SIGHT GLASS: GLASS, MATERIAL, FLANGE: SUS316, PROCESS CONNECTION, INLET/OUTLET: ANSI 150# RF 0.5 IN/0.5 IN, MAX OPERATING PRESSURE: ATM, DRAWING NUMBER: VS2158-164-A-080, ADDITIONAL INFORMATION: MINIMUM SCALE OF MEASURING GLASS: 1 ML, QA/QC DOCUMENT REQUIRED: CO/CQ, TEST CER | 1 | SET | 28.04.2025
9 | MI250102 | 90 | 2030558065 | SPRING, DISC SPRING, FOR VALVE 043-UZV-0 | SPRING, DISC SPRING, FOR VALVE 043-UZV-0170, PART#: S59J / R1220S, MAN UF: EVERLASTING VALVE, FOR 043-UZV-0170,043-UZV-0173A,043-UZV-0173B | 6 | PC | 28.04.2025
10 | MI250102 | 100 | 2030558067 | SPRING, POST SPRING, P/N#: S46J/RF18300I | SPRING, POST SPRING, FOR VALVE 043-UZV-0170, PART#: S46J / RF18300I, M ANUF: EVERLASTING VALVE, FOR 043-UZV-0170,043-UZV-0173A,043-UZV-0173B | 6 | PC | 28.04.2025
11 | MI250102 | 110 | 2030558068 | GASKET, BODY GASKET, PART#: G258266A, MA | GASKET, BODY GASKET, PART#: G258266A, MANUF: EVERLASTING VALVE, FOR 04 3-UZV-0170,043-UZV-0173A,043-UZV-0173B | 6 | PC | 28.04.2025
12 | MI250102 | 120 | 2030861844 | PACKING, 1303 FEP, FLEX.GRAPH, W/NICR WI | PACKING, 1303 FEP, FLEXIBLE GRAPHITE, W/NICR WIRE, BRAID DFBV, 2IN ID, 2.5IN OD, 1.25IN OAH, 0.25IN C/S, 5 PCS/SET, MANUF: GARLOCK | 15 | SET | 28.04.2025
13 | MI250102 | 130 | 2030800660 | PACKING, ENVIROSEAL GRAPHITE PACKING, OE | PACKING, ENVIROSEAL GRAPHITE PACKING, OEM: FISHER, PN: RRTYXRT0362 | 5 | SET | 28.04.2025
14 | MI250102 | 150 | 2070155607 | VALVE, COMPLETE SET, 3/4IN, MATERIAL: SS | VALVE, COMPLETE SET, 3/4IN, MATERIAL: SS, T SETTING: 43°C, PORT CONNECTION: NPT TO UAS B2.1, MODEL: 3/4CLRT11001-0-AZA, MANUF: AMOT, TAG NAME: 041-TCV-6504; 041-TCV-6544 | 1 | SET | 28.04.2025
15 | MI250102 | 170 | 2070155611 | REPAIR KIT, MANUF: AMOT, P/N: 1096X130-Z | REPAIR KIT, MANUF: AMOT, P/N: 1096X130-Z, SERVICE KIT FOR TAG NAME: 042-TCV-6253 WITH MODEL: 4BQ1H13001-00-AA | 1 | KIT | 28.04.2025
16 | MI250102 | 180 | 2070500038 | ACTUATOR, PNEUMATIC TYPE, MNF: EL-O-MAT | ACTUATOR, PNEUMATIC TYPE, COMPLETE SET, MNF: EL-O-MATIC, P/N: VA001-406-03, MODEL: FD0600-NM00CWALTN-L27SKA-00XX, SEIRIES SIZE 0600 | 1 | SET | 28.04.2025
17 | MI250102 | 190 | 2070500039 | REPAIR KIT, MNF: EL-O-MATIC, P/N: VA001- | REPAIR KIT, MNF: EL-O-MATIC, P/N: VA001-335-15, STANDARD SERVICE KIT ACTUATOR F-SERIES SIZE 0600 | 2 | KIT | 28.04.2025
18 | MI250102 | 200 | 2070500040 | ACTUATOR, PNEUMATIC TYPE, MNF: EL-O-MAT | ACTUATOR, PNEUMATIC TYPE, COMPLETE SET, MNF: EL-O-MATIC, P/N: VA001-408-78, MODEL: FD0200-NM00CWALTN-L22SKA-00XX | 1 | SET | 28.04.2025
19 | MI250102 | 210 | 2070500041 | REPAIR KIT, MNF: EL-O-MATIC, P/N: VA001- | REPAIR KIT, MNF: EL-O-MATIC, P/N: VA001-335-13, STANDARD SERVICE KIT ACTUATOR F-SERIES SIZE 0200 | 2 | KIT | 28.04.2025
20 | MI250102 | 220 | 2060112492 | DETECTOR, FLAME, IR, DUIKER, DFD2 TP2 T | DETECTOR, FLAME, INFRA RED, MANUFACTURER: DUIKER COMBUSTION ENGINEERS B.V., MODEL: DFD2 TP2 T G 10 EX, FIELD OF VIEW: 2.7 DEGREES, TYPE, MOUNTING: SWIVEL MOUNT, TEMPERATURE, AMBIENT: -20 TO 70 DEGREE, POWER SUPPLY: 24VDC/200MA, RANGE: 0.5M, SIGNAL, OUTPUT: REPLAY SPDT/0(4)-20MA, CONNECTION, ELECTRICAL: 10M PERMANENTLY CONNECTED CABLE, INGRESS PROTECTION: IP66, ADDITIONAL INFORMATION: PART NUMBER: A0016207,REPLAY: MAX 48V SWITCHING VOLTAGE,MAX 1A SWITCHING CURRENT, MAX 30W SWITCHING POWER, QA/QC DOCUMENT REQUIRED: CO,CQ | 2 | PC | 28.04.2025
21 | MI250102 | 230 | 2020921044 | SWITCH, LIMIT, STAHL, 8070/1-2-S | SWITCH, LIMIT, MANUFACTURER: STAHL, MODEL: 8070/1-2-S, TYPE: PLUNGER, CONFIGURATION, CONTACT: 1NC + 1NO, RATING, CONTACT: 12-24VDC, INGRESS PROTECTION: IP65, QA/QC DOCUMENT REQUIRED: CO, CQ | 8 | PC | 28.04.2025
22 | MI250102 | 240 | 2020900136 | THERMOWELL, WIKA, TW10-F SCRUTONWELL | THERMOWELL, FLANGED, MATERIAL: 316/316L, FACING, FLANGE: RAISED FACE, PRESSURE DESIGNATION: ASME CL600, SIZE: 2IN , TYPE OF BORE: TAPERED, LENGTH U (INSERTION): 350MM, ADDITIONAL INFORMATION: MANUFACTURER: WIKA, MODEL: TW10-F SCRUTONWELL SOLID MACHINED, INSTRUMENT CONNECTION: 0.5IN NPT FEMALE, BORE SIZE: 6.6MM, STRAKE LENGTH: 210MM, HEAD LENGTH: 60MM, ROOT DIAMETER: 30 MM, TIP DIAMETER: 20 MM, QA/QC DOCUMENT REQUIRED: CO, CQ, MATERIAL TEST CERTIFICATE | 2 | PC | 28.04.2025
23 | MI250102 | 250 | 2060101068 | FLAME ROD,D0988,GREENS COMBUSTION | DETECTOR, PARTS, ITEM: FLAME ROD, PART NUMBER: D0988, EQPT MANUFACTURER: GREENS COMBUSTION, QA/QC DOCUMENT REQUIRED: CO,CQ | 180 | PC | 28.04.2025
24 | MI250102 | 260 | 2070255650 | POSITIONER,PNEU, YOUNGTECH, YT- 1200RS53 | POSITIONER, PNEUMATIC, MANUFACTURER: YOUNGTECH, MODEL: YT- 1200RS532S0, TYPE: SINGLE ACTING, CONNECTION, ELECTRICAL: NOT APPLICABLE, CONNECTION, AIR: 0.25 NPTM, RANGE, INPUT SIGNAL: 0.02-0.1 MPa, RANGE, INPUT PRESSURE GAUGE: 0.14-0.7 MPa, INGRESS PROTECTION: IP66, CLASSIFICATION, HAZARD AREAS: ATEX FLAME PROOF, QA/QC DOCUMENT REQUIRED: CO, CQ | 3 | PC | 28.04.2025
25 | MI250102 | 270 | 2070255760 | TRANSMITTER, DP, ELEC, YOKOGAWA, EJA110E | TRANSMITTER, DIFFERENTIAL PRESSURE, ELECTRONIC, MANUFACTURER: YOKOGAWA, MODEL: EJA110E-JMS5G-719DD/KF22/A/C3/M01/HG/HE, RANGE LIMITS: -100 TO 100 kPa, STATIC PRESSURE: 0-25 MPa, CONNECTION, PROCESS: 0.25IN NPTF, POWER SUPPLY: 10.5-32 VDC, CONNECTION, ELECTRICAL: M20x1.5, SIGNAL, OUTPUT: 4-20 mA, COMMUNICATION PROTOCOL (SMART): HART, MAT, ELECTRONICS HOUSING: CAST ALUMINUM ALLOY, CLASSIFICATION, HAZARD AREAS: ATEX, II 2 G Ex db IIC T6/T4 Gb, II 2 D Ex tb IIIC T85 DEG C Db, INGRESS PROTECTION: IP66/67, QA/QC DOCUMENT REQUIRED: CO, CQ | 8 | PC | 28.04.2025
26 | MI250102 | 280 | 2070255652 | POSITIONER,PNEU, POWER-GENEX,PPL-B1S4TN | POSITIONER, PNEUMATIC, MANUFACTURER: POWER-GENEX, MODEL: PPL-B1S4TN, TYPE: DIRECT, CONNECTION, ELECTRICAL: NOT APPLICABLE, CONNECTION, AIR: 0.25 NPTM, RANGE, INPUT SIGNAL: 3-15 PSI, RANGE, INPUT PRESSURE GAUGE: 20-100 PSI, INGRESS PROTECTION: IP66, CLASSIFICATION, HAZARD AREAS: ATEX FLAME PROOF, ADDITIONAL INFORMATION: STROKE: 10-80MM, QA/QC DOCUMENT REQUIRED: CO, CQ | 2 | PC | 28.04.2025
27 | MI250102 | 290 | 2020555670 | SWITCH, PRESSURE, WIKA, MA1,1X SPDT SILV | SWITCH, PRESSURE, MANUFACTURER: WIKA, MODEL: MA1, CONFIGURATION, CONTACT: 1X SPDT SILVER, RATING, ELECTRICAL: UP TO 15 A / AC 220 V, CONNECTION, PRESSURE: 0.5IN NPTM, CONNECTION, ELECTRICAL: M20X1.5, INGRESS PROTECTION: IP65, CLASSIFICATION, HAZARD AREAS: ZONE 2, PRESSURE, SET POINT: 50 KPAG, RANGE: -100~1500 KPA, QA/QC DOCUMENT REQUIRED: CO, CQ | 7 | PC | 28.04.2025
28 | MI250102 | 300 | 2070300644 | ELEMENT, TEMPERATURE, THERMOCOUPLE, SING | ELEMENT, TEMPERATURE, THERMOCOUPLE, MANUFACTURER: WIKA, MODEL: TC12-B, TYPE: SINGLE, TYPE K, DIAMETER, SHEATH: 6 MM, LENGTH, PROBE: 433 MM, CONNECTION, PROCESS: 0.5IN NPTM, MAT SPEC, OUTER SHEATH: SS316, TYPE, CONNECTOR: DIRECT HEAD 7/8000W, INGRESS PROTECTION: IP65, ADDITIONAL INFORMATION: INSERT LENGTH 283 MM, NIPPLE-UNION-NIPPLE LENGTH 150MM, QA/QC DOCUMENT REQUIRED: CO, CQ | 4 | PC | 28.04.2025
29 | MI250102 | 310 | 2070300645 | ELEMENT, TEMPERATURE, THERMOCOUPLE, SING | ELEMENT, TEMPERATURE, THERMOCOUPLE, MANUFACTURER: WIKA, MODEL: TC12-B, TYPE: SINGLE, TYPE K, DIAMETER, SHEATH: 6 MM, LENGTH, PROBE: 212 MM, CONNECTION, PROCESS: 0.5IN NPTM, MAT SPEC, OUTER SHEATH: SS316, TYPE, CONNECTOR: DIRECT HEAD 7/8000W, INGRESS PROTECTION: IP65, ADDITIONAL INFORMATION: INSERT LENGTH 62 MM, NECK DESIGN: NIPPLE-UNION-NIPPLE LENGTH 150MM, QA/QC DOCUMENT REQUIRED: CO, CQ | 3 | PC | 28.04.2025
30 | MI250102 | 320 | 2070300646 | ELEMENT, TEMPERATURE, THERMOCOUPLE, SING | ELEMENT, TEMPERATURE, THERMOCOUPLE, MANUFACTURER: WIKA, MODEL: TC12-B, TYPE: SINGLE, TYPE K, DIAMETER, SHEATH: 6 MM, LENGTH, PROBE: 315 MM, CONNECTION, PROCESS: 0.5IN NPTM, MAT SPEC, OUTER SHEATH: SS316, TYPE, CONNECTOR: DIRECT HEAD 7/8000W, INGRESS PROTECTION: IP65, ADDITIONAL INFORMATION: INSERT LENGTH 165MM, NECK DESIGN: NIPPLE-UNION-NIPPLE LENGTH 150MM , QA/QC DOCUMENT REQUIRED: CO, CQ | 4 | PC | 28.04.2025
31 | MI250102 | 330 | 2070300647 | ELEMENT, TEMPERATURE, THERMOCOUPLE, SING | ELEMENT, TEMPERATURE, THERMOCOUPLE, MANUFACTURER: WIKA, MODEL: TC12-B, TYPE: SINGLE, TYPE K, DIAMETER, SHEATH: 6 MM, LENGTH, PROBE: 442 MM, CONNECTION, PROCESS: 0.5IN NPTM, MAT SPEC, OUTER SHEATH: SS316, TYPE, CONNECTOR: DIRECT HEAD 7/8000W, INGRESS PROTECTION: IP65, ADDITIONAL INFORMATION: INSERT LENGTH 292 MM,NECK DESIGN: NIPPLE-UNION-NIPPLE LENGTH 150MM, QA/QC DOCUMENT REQUIRED: CO, CQ | 3 | PC | 28.04.2025
32 | MI250102 | 340 | 2070300648 | ELEMENT, TEMPERATURE, RESISTANCE, PT 100 | ELEMENT, TEMPERATURE, RESISTANCE, MANUFACTURER: WIKA, MODEL: TR10-L, TYPE: PT 100, CONFIGURATION, WIRING: SINGLE 3-WIRE, DIAMETER, PROBE: 3 MM, LENGTH, PROBE: 990 MM, CONNECTION, PROCESS: 1IN NPTM, TOLERANCE CLASS: CLASS B, BASE RESISTANCE: 100 OHM, RANGE, TEMPERATURE: -50~500 DEG C, ADDITIONAL INFORMATION: IP65,BAYONET STYLE: ADJUSTABLE SPRING LOADING, MATERIAL BAYONET CAP: NICKEL PLATED BRASS, SPRING DIMENSION: 40 MM, X-DIMENSION: 800 MM, QA/QC DOCUMENT REQUIRED: CO, CQ | 2 | PC | 28.04.2025
33 | MI250102 | 350 | 2000202655 | ELEMENT, TEMPERATURE, THERMOCOUPLE, SING | ELEMENT, TEMPERATURE, THERMOCOUPLE, MANUFACTURER: WIKA, MODEL: TC12-B, TYPE: SINGLE, TYPE K, DIAMETER, SHEATH: 6 MM, LENGTH, PROBE: 359 MM, CONNECTION, PROCESS: 0.5IN NPTF, MAT SPEC, OUTER SHEATH: SS316, TYPE, CONNECTOR: DIRECT HEAD 7/8000W, INGRESS PROTECTION: IP65, ADDITIONAL INFORMATION: INSERT LENGTH 209 MM,NECK DESIGN: NIPPLE-UNION-NIPPLE LENGTH 150MM, QA/QC DOCUMENT REQUIRED: CO, CQ | 2 | PC | 28.04.2025
34 | MI250102 | 360 | 2040757207 | GAUGE, PRESSURE, BOURDON TUBE, WIKA, 233 | GAUGE, PRESSURE, TYPE: BOURDON TUBE, MANUFACTURER: WIKA, MODEL: 233.50.063, RANGE: DUAL SCALE 0-4000 PSI/0-27579 kPa, CONNECTION, PROCESS: 1/4NPTM, CONNECTION ORIENTATION: LOWER MOUNT, MAT, CASE: 316 SS, SIZE, DIAL: 63MM, LIQUID FILLING: GLYCERINE, ZERO ADJUSTMENT REQUIRED: NO, INGRESS PROTECTION: IP65, QA/QC DOCUMENT REQUIRED: CO,CQ | 20 | PC | 28.04.2025
35 | MI250102 | 370 | 2050200125 | SPRING, SPRING PART FOR HKC'S ACTUATOR, | SPRING, SPRING PART FOR HKC'S ACTUATOR, MANUF: HKC, P/N: ETS-085SR-335-C4 (SPRING PART) | 20 | SET | 28.04.2025
36 | MI250102 | 380 | 2070557755 | ACTUATOR,PNEU,SGLACT,FAIL OPEN,HKC,ETS-0 | ACTUATOR,PNEUMATIC,PISTON TYPE,TYPE, ACTUATOR:SINGLE ACTING, FAIL OPEN,MANUFACTURER:HKC CO., LTD,MODEL:ETS-085SR-335(O4),PRESSURE, SUPPLY:300-800 kPa,QA/QC DOCUMENT REQUIRED:CO,CQ | 3 | PC | 28.04.2025
37 | MI250102 | 390 | 2000202659 | SEAL KIT, HQOI-08-EV1 (PAGE 5), 5,8,26,2 | ACTUATOR, PARTS, ITEM: SEAL KIT, ITEM TYPE: FOR ET-SERIES, OEM DRAWING NUMBER: HQOI-08-EV1 (PAGE 5), POSITION NUMBER: 5,8,26,27,30-1,23,35, EQPT MODEL: ETS-085SR-335, EQPT MANUFACTURER: HKC, ADDITIONAL INFORMATION: SEAL KIT CONSISTS POS.5 UPPER BUSHING O-RING (1PC), POS.8 LOW BUSHING O-RING (1PC), POS.26 ROD SEALS (1PC), POS.27 ROD SEALS O -RING (1PC), POS.30-1 PISTON ROD O-RING (1PC) (RELATED TO POS. 30 PISTON ROD), POS.23 COVER O-RING (2PC), POS.35 PISTON O RING (1PC); NSRP DOC VC215A-001-F-802 (PAGE 36), QA/QC DOCUMENT REQUIRED: CO, CQ | 30 | SET | 28.04.2025
38 | MI250102 | 400 | 2070557739 | ACTUATOR,PNEU,FLOWBUS,EPR092-SR10 | ACTUATOR, PNEUMATIC, PISTON TYPE, TYPE, ACTUATOR: SPRING RETURN, MANUFACTURER: FLOWBUS, MODEL: EPR092-SR10, PRESSURE, SUPPLY: 2-8 BAR, ADDITIONAL INFORMATION: AIR FAILURE POSITION: CLOSED, QA/QC DOCUMENT REQUIRED: CO, CQ | 3 | EA | 28.04.2025
39 | MI250102 | 410 | 2070557740 | ACTUATOR,PNEU,FLOWBUS,EPR105-SR09 | ACTUATOR, PNEUMATIC, PISTON TYPE, TYPE, ACTUATOR: SPRING RETURN, MANUFACTURER: FLOWBUS, MODEL: EPR105-SR09, PRESSURE, SUPPLY: 2-8 BAR, ADDITIONAL INFORMATION: AIR FAILURE POSITION: CLOSED, QA/QC DOCUMENT REQUIRED: CO, CQ | 3 | EA | 28.04.2025
40 | MI250102 | 420 | 2000202662 | VORTEX TUBE, 3410, EXAIR, CO, CQ | FEEDER, ROTARY, PARTS, ITEM:VORTEX TUBE, PART NUMBER:3410, EQPT MANUFACTURER:K-TRON, ADDITIONAL INFORMATION: VORTEX TUBE MANUFACTURER: EXAIR, QA/QC DOCUMENT REQUIRED:CO, CQ | 3 | PC | 28.04.2025
41 | MI250102 | 430 | 2000502144 | FLOAT, SMF-50A, 15A-N, 4, SAMIL, CO, CQ | GAUGE, LEVEL, PARTS, ITEM:FLOAT, PART NUMBER:SMF-50A, OEM DRAWING NUMBER:15A-N, POSITION NUMBER:4, EQPT MANUFACTURER:SAMIL, QA/QC DOCUMENT REQUIRED:CO, CQ | 2 | EA | 28.04.2025
42 | MI250102 | 440 | 2040354497 | CYLINDER, PNEUMATIC, DOUBLE ACTING, FEST | CYLINDER, PNEUMATIC, TYPE:DOUBLE ACTING, BORE SIZE:32MM, STROKE LENGTH:50MM, MOUNTING:OPTIONAL, PROCESS CONNECTION:G1/8, ACCESSORIES:NO, MANUFACTURER:FESTO, MODEL:DSNU-32-50-PPV-A, QA/QC DOCUMENT REQUIRED:CO, CQ | 6 | PC | 28.04.2025
43 | MI250102 | 450 | 2000202661 | GENERATOR, 35001178, AVENTUS, CO, CQ | BAGGING MACHINE, PARTS, ITEM:GENERATOR, PART NUMBER:35001178, EQPT MANUFACTURER:AVENTUS, ADDITIONAL INFORMATION:VORTEX COOLER, 35H, QA/QC DOCUMENT REQUIRED:CO,CQ | 4 | PC | 28.04.2025
44 | MI250102 | 460 | 2060122971 | CORD SEAL, 8MM X 6MM, VENDOR: AVENTUS, P | CORD SEAL, 8MM X 6MM, VENDOR: AVENTUS, PN: 35093122 | 30 | M | 28.04.2025
45 | MI250102 | 470 | 2040723358 | REGULATOR, ONE WAY RESTRICTOR, VENDOR: A | REGULATOR, ONE WAY RESTRICTOR, 7770 0800, VENDOR: AVENTUS GMBH & CO. KG, CATALOG: 02823025 | 7 | PC | 28.04.2025
46 | MI250102 | 480 | 2040723359 | REGULATOR, ONE WAY RESTRICTOR, VENDOR: A | REGULATOR, ONE WAY RESTRICTOR, 7770 1000, VENDOR: AVENTUS GMBH & CO. KG, CATALOG: 02823175 | 7 | PC | 28.04.2025
47 | MI250102 | 490 | 2040723360 | REGULATOR, SCREW CONNECTION, VENDOR: AVE | REGULATOR, SCREW CONNECTION, 1/4IN / DM-8 / 7010 0813, VENDOR: AVENTUS GMBH & CO. KG, CATALOG: 02823216 | 7 | PC | 28.04.2025
48 | MI250102 | 500 | 2040723361 | REGULATOR, SCREW CONNECTION, VENDOR: AVE | REGULATOR, SCREW CONNECTION, 1/8IN / DM-8 / 7718 0810, VENDOR: AVENTUS GMBH & CO. KG, CATALOG: 02823217 | 20 | PC | 28.04.2025
49 | MI250102 | 510 | 2060122953 | RUBBER BAR, FOR SUCKER, PART#: 30205756, | RUBBER BAR, FOR SUCKER, PART#: 30205756, VENDOR: AVENTUS GMBH & CO. KG | 10 | PC | 28.04.2025
50 | MI250102 | 520 | 2020522885 | SWITCH, PHOTOELECTRIC, 26.5V TO 31.6V 10 | SWITCH, PHOTOELECTRIC, 26.5V TO 31.6V 1000HZ, 0.1M TO 18M, REFLECTION PHOTOCELL | 8 | PC | 28.04.2025
51 | MI250102 | 530 | 2060122973 | TAPE, TEFLON, 487 X 1000 X 0,138MM, VEND | TAPE, TEFLON, 487 X 1000 X 0,138MM, PTFE CUTTING, VENDOR: AVENTUS GMBH & CO. KG, CATALOG: NEW: 35086611/ OLD: 35038253 | 60 | M | 28.04.2025
52 | MI250102 | 540 | 2020900525 | GAUGE, TEMPERATURE, GAS ACTUATED, WIKA, | GAUGE, TEMPERATURE, TYPE: GAS ACTUATED, MANUFACTURER: WIKA, MODEL: F73.100, RANGE: 0~160 DEG C, ACCURACY: CLASS 1 PER EN 13190, CONNECTION, PROCESS: G 0.5B, CONNECTION ORIENTATION: BOTTOM, MAT, CASE: SS316, SIZE, DIAL: 100MM, LIQUID FILLING: DRY, ZERO ADJUSTMENT REQUIRED: YES, MAT, STEM: SS316, DIAMETER, STEM: 6MM, LENGTH, STEM: 170MM, LENGTH, CAPILLARY: 5M, INGRESS PROTECTION: IP 65, ADDITIONAL INFORMATION: SURFACE MOUNTING FLANGE,STAINLESS STEEL.CONNECTION DESIGN:4,COMPRESSION FITTING,SLIDING ON STEM, QA/QC DOCUMENT REQUIRED: CO, CQ | 5 | PC | 28.04.2025
53 | MI250102 | 550 | 2040700074 | GAUGE, PRESSURE, BOURDON TUBE, WIKA, 233 | GAUGE, PRESSURE, TYPE: BOURDON TUBE, MANUFACTURER: WIKA, MODEL: 233.30.100, RANGE: 0~250 KPAG, CONNECTION, PROCESS: 0.5IN NPTM, CONNECTION ORIENTATION: BACK MOUNT, MAT, CASE: SS316, SIZE, DIAL: 100MM, LIQUID FILLING: GLYCERIN FILLED, ZERO ADJUSTMENT REQUIRED: YES, INGRESS PROTECTION: IP65, QA/QC DOCUMENT REQUIRED: CO, CQ | 2 | PC | 28.04.2025
54 | MI250102 | 560 | 2040700075 | GAUGE, PRESSURE, BOURDON TUBE, WIKA, 233 | GAUGE, PRESSURE, TYPE: BOURDON TUBE, MANUFACTURER: WIKA, MODEL: 233.30.100, RANGE: 0~600 KPAG, CONNECTION, PROCESS: 0.5IN NPTM, CONNECTION ORIENTATION: BACK MOUNT, MAT, CASE: SS316, SIZE, DIAL: 100MM, LIQUID FILLING: GLYCERIN FILLED, ZERO ADJUSTMENT REQUIRED: YES, INGRESS PROTECTION: IP65, QA/QC DOCUMENT REQUIRED: CO, CQ | 2 | PC | 28.04.2025
55 | MI250102 | 570 | 2040700076 | GAUGE, PRESSURE, BOURDON TUBE, WIKA, 233 | GAUGE, PRESSURE, TYPE: BOURDON TUBE, MANUFACTURER: WIKA, MODEL: 233.30.100, RANGE: 0~1000 KPAG, CONNECTION, PROCESS: 0.5IN NPTM, CONNECTION ORIENTATION: BACK MOUNT, MAT, CASE: SS316, SIZE, DIAL: 100MM, LIQUID FILLING: GLYCERIN FILLED, ZERO ADJUSTMENT REQUIRED: YES, INGRESS PROTECTION: IP65, QA/QC DOCUMENT REQUIRED: CO, CQ | 2 | PC | 28.04.2025
56 | MI250102 | 580 | 2040700077 | GAUGE, PRESSURE, BOURDON TUBE, WIKA, 233 | GAUGE, PRESSURE, TYPE: BOURDON TUBE, MANUFACTURER: WIKA, MODEL: 233.30.100, RANGE: 0~1600 KPAG, CONNECTION, PROCESS: 0.5IN NPTM, CONNECTION ORIENTATION: BACK MOUNT, MAT, CASE: SS316, SIZE, DIAL: 100MM, LIQUID FILLING: GLYCERIN FILLED, ZERO ADJUSTMENT REQUIRED: YES, INGRESS PROTECTION: IP65, QA/QC DOCUMENT REQUIRED: CO, CQ | 2 | PC | 28.04.2025
57 | MI250102 | 590 | 2040720687 | GAUGE,PRESS,WIKA,233.30.100,0-10000KPa-G | GAUGE, PRESSURE, TYPE: BOURDON TUBE, MANUFACTURER: WIKA, MODEL: 233.30.100, RANGE: 0-10000 KPa-G, ACCURACY: +/- 1.0% OF FULL SCALE, CONNECTION, PROCESS: 0.5 IN NPTM, MOUNTING: DIRECT, CONNECTION ORIENTATION: BOTTOM, MAT, CASE: STAINLESS STEEL, SIZE, DIAL: 100 MM, LIQUID FILLING: GLYCERINE FILLED, ZERO ADJUSTMENT REQUIRED: REQUIRED, MAT, PRESSURE ELEMENT: SS316 L, MAT, MOVEMENT: SS316 L, MAT, WINDOW: SHATTERPROOF GLASS, INGRESS PROTECTION: IP65, ADDITIONAL INFORMATION: VJ2157-001-A-515, QA/QC DOCUMENT REQUIRED: CO/CQ | 2 | PC | 28.04.2025
58 | MI250102 | 600 | 2070155606 | REPAIR KIT, MANUF: AMOT, MODEL: 4BOKIT- | REPAIR KIT, MANUF: AMOT, MODEL: 4BOKIT-13001-00-AZA, SERVICE KIT FOR TCV TAG NAME: 042-TCV-8127, 4IN, T 54°C, INCLUDING: SEAL KIT P/N: 46342X411; ELEMENT P/N: 1096X130-Z, NOTE: THE MODEL IS APPLIED WHEN ORDERING FROM US AND CANNADA MANUFACTURERS; THE P/N IS APPLIED WHEN ORDERING FROM EUROPE AND ASIA MANUFACTURER | 1 | KIT | 28.04.2025
59 | MI250102 | 610 | 2070155608 | REPAIR KIT, MANUF: AMOT, MODEL: 3/4CLRK | REPAIR KIT, MANUF: AMOT, MODEL: 3/4CLRKIT-11001-0-AZA, SERVICE KIT FOR: 041-TCV-6504; 041-TCV-6544, 3/4IN, MATERIAL: SS, T SETTING:43°C, INCLUDING: SEAL KIT P/N: 9170X001; ELEMENTS P/N: 10765X110 NOTE: THE MODEL IS APPLIED WHEN ORDERING FROM US AND CANNADA MANUFACTURERS; THE P/N IS APPLIED WHEN ORDERING FROM EUROPE AND ASIA MANUFACTURER | 1 | KIT | 28.04.2025
60 | MI250102 | 620 | 2070155610 | SEAL KIT, FOR TCV VALVE, MANUF: AMOT, P | SEAL KIT, FOR TCV VALVE, MANUF: AMOT, P/N: 46342X411, TAG NAME: 042-TCV-6253, USED FOR VALVE MODEL: 4BQ1H13001-00-AA | 1 | KIT | 28.04.2025