## Att-2
Spare part list for purchasing Y2026
No | NSRP Item Description | Catelogy | OEM/ Generic | Part Number | Manufacturer | Qty | Unit | Warranty
1 | BUS BAR ASSY, PN: AL-10836, ALCOL | Spare Part | OEM | AL-10836 | ALCOR | 1 | PC | 12 months
2 | CABLE PWR W/RING TERM, P/N: AL-97139, ALCOL | Spare Part | OEM | AL-97139 | ALCOR | 1 | PC | 12 months
3 | OPTIDIST IBP LIGHT BARRIER, PN: 3800-000-001M, HERZOG | Spare Part | OEM | 3800-000-001M | HERZOG | 2 | PC | 12 months
4 | OPTIDIST VOLUME MEASURING LIGHT BARRIER, PN: 3800-000-002M,HERZOG | Spare Part | OEM | 3800-000-002M | HERZOG | 2 | PC | 12 months
5 | TOOL, K27060 WICK INSERTION TOOL, MANUF: KOEHLER, P/N: K27060 | Spare Part | OEM | K27060 | KOEHLER | 1 | PC | 12 months
6 | SENSOR, SENSOR PRT FOR COLD TRAP PD300CC (CABLE LENGTH 1900), MANUF: PILODIST, P/N: PRTCT-300-NE | Spare Part | OEM | PRTCT-300-NE | PILODIST | 1 | PC | 12 months
7 | HOSE FOR FLASK CONNECTION, PN: 2007-004-009, PAC | Spare Part | OEM | 2007-004-009 | PAC | 1 | PC | 12 months
8 | MAIN SWITCH, PN 3704-400-004, PAC | Spare Part | OEM | 3704-400-004 | PAC | 1 | PC | 12 months
9 | O-RING, PN 2401-036-019800, SILICON, PAC | Spare Part | OEM | 2401-036-019800 | PAC | 1 | PC | 12 months
10 | O-RING, PN 2401-036-019801, VITON, PAC | Spare Part | OEM | 2401-036-019801 | PAC | 1 | PC | 12 months
11 | O-RING, PN 2401-026-012100, SILICON, PAC | Spare Part | OEM | 2401-026-012100 | PAC | 1 | PC | 12 months
12 | STOPPER END, PN 3003-004-1006, PAC | Spare Part | OEM | 3003-004-1006 | PAC | 1 | PC | 12 months
13 | QUARTZ FLASK, PN 2201-004-001Q2, PAC | Spare Part | OEM | 2201-004-001Q2 | PAC | 1 | SET | 12 months
14 | ASTM TEST TUBE 25dia x 150mm LONG | Spare Part | OEM | 106366 | ANTON PAAR | 10 | PC | 12 months
15 | Copper Strip | Spare Part | OEM | 31T0002 | TAMSON | 1 | PC | 12 months
16 | TUBE, 100ML CONE-SHAPED, 8 IN, GRADUATED TO 0.05ML (PACK OF 6), 90040-0,PE-WS-025, STANHOPE SETA | Spare Part | OEM | 90040-1 | STANHOPE SETA | 1 | PAC | 12 months
17 | Main switch neon 2*16A Green | Spare Part | OEM | 24T8541 | TAMSON | 1 | PC | 12 months
18 | AERATION PUMP, 102489, PE-TS-020, ALCOR | Spare Part | OEM | 102489 | ALCOR | 1 | PC | 12 months
19 | Micro syringe 50ul | Spare Part | OEM | 670-12554-03 | Shimadzu | 1 | PC | 12 months
20 | Microscope lamp for HFRR microscope | Spare Part | OEM | PCS-002923 | PCS INSTRUMENTS | 2 | PC | 12 months
21 | CYLINDER, OPTIDIST MEASURING CYLINDER TUBE 100ML, P/N: 2202-004-001, MANUF: PAC | Spare Part | OEM | 2202-004-001 | PAC | 5 | PC | 12 months
22 | Silicone Rubber Tube, 5 metres | Spare Part | OEM | 16720-002 | STANHOPE SETA | 1 | PC | 12 months
23 | CABLE, MULTI-DETECTOR CABLE 3.1 FOR PMA 5 EQUIPMENT, P/N: 227874, MANUF: ANTONPAAR | Spare Part | OEM | 227874 | ANTON PAAR | 1 | PC | 12 months
24 | TAG 4 TEST LID, 107194, PE-FPT-044, ANTON PAAR | Spare Part | OEM | 107191 | ANTON PAAR | 1 | PC | 12 months
25 | FLASK TEMPERATURE SENSOR, 3011-205-12,PILODIST,CO,CQ | Spare Part | OEM | 3011-205-12 | PILODIST | 1 | PC | 12 months
26 | O-RING, 20007412, IKA, CO,CQ | Spare Part | OEM | 20007412 | IKA | 1 | PC | 12 months
27 | SPARE PARTS KIT N 84.3 AN,342829, KNF,CO,CQ | Spare Part | OEM | 324829 | KNF | 1 | SET | 12 months
28 | REACTION VESSEL, 200-93018-01, WA-AAS-006 WA-AAS-007, SHIMADZU | Spare Part | OEM | 200-93018-01 | Shimadzu | 2 | PC | 12 months
29 | LINER, TFM LINER, MANU: CEM, P/N: 432175 | Spare Part | OEM | 432175 | CEM corporation | 2 | PC | 12 months
30 | Disk, Easyprep Standard Load Disk, Manu: Cem, P/N: 131130 | Spare Part | OEM | 131130 | CEM corporation | 1 | PC | 12 months
31 | Vessel Sleeve, Manu: Cem, P/N: 431740 | Spare Part | OEM | 431740 | CEM corporation | 2 | PC | 12 months
32 | 60 Gpd Ro Cartridge, Cdrc60201, Millipore | Spare Part | OEM | CDR60201 | MILLIPORE | 1 | PC | 12 months
33 | Injection Valve Rebuild Kit | Spare Part | OEM | 75973 | Dionex | 1 | PC | 12 months
34 | VALVE, TOGGLE, P/N: 111305, MANU: CFR ENGINES INC | Spare Part | OEM | 111305 | CFR ENGINES INC | 1 | PC | 12 months
35 | PLUNGER, RELIEF VALVE, MANU: CFR ENGINES INC, P/N: 106827 | Spare Part | OEM | 106827 | CFR ENGINES INC | 1 | PC | 12 months
36 | Gasket Carb Heater | Spare Part | OEM | 109346 | CFR ENGINES INC | 2 | PC | 12 months
37 | Gasket Int Manifold | Spare Part | OEM | 109345 | CFR ENGINES INC | 2 | PC | 12 months
38 | As-Ap Preventive Maintenance Kit (2 Set) | Spare Part | OEM | 075000 | Dionex | 1 | PC | 12 months
39 | Ics-1100/1600/2100 Preventive Maintenance Kit (Also For Ics-1000/1500/2000 And Dionex Aquion) | Spare Part | OEM | 057954 | Dionex | 1 | PC | 12 months
40 | SCRUBBER FLASK,10013996,FOSS | Spare Part | OEM | 10013996 | FOSS | 2 | PC | 12 months
41 | SEAL,60084831,FOSS | Spare Part | OEM | 60084831 | FOSS | 2 | PC | 12 months
42 | FPC Filament Unit | Spare Part | OEM | 212-20116-03 | SHIMADZU | 1 | PC | 12 months
43 | Ion Exchange Resin Unit Xrf | Spare Part | OEM | 204-47226 | SHIMADZU | 1 | PC | 12 months
44 | Heater H5 | Spare Part | OEM | N-1085-9449-400 | Nippon Instruments | 1 | PC | 12 months
45 | HEATER, H2 ELEMENT, N-1085-9411-402, NIPPON INSTRUMENTS | Spare Part | OEM | N-1085-9411-402 | Nippon Instruments | 1 | PC | 12 months
46 | HEATER, H3 ELEMENT, W151-1109, NIPPON INSTRUMENTS | Spare Part | OEM | W151-1109 | Nippon Instruments | 1 | PC | 12 months
47 | Analytical Filter, Milipak, 0.22 Μm, Manuf: Merck, P/N: Mpgp002A1 | Spare Part | OEM | MPGP002A1 | MERCK | 1 | PC | 12 months
48 | Ozone Scrubber, Nd-100/Tn-110 | Spare Part | OEM | TN6RPZ | NITTOSEIKO ANALYTECH | 1 | PC | 12 months
49 | Valve, 6 Port Valve Ass'Y, Part No: N2G25D2, Manuf: Mitsubishi Chemical Analytech | Spare Part | OEM | N2G25D2 | NITTOSEIKO ANALYTECH | 1 | PC | 12 months
50 | Oil Seal | Spare Part | OEM | 106934 | CFR ENGINES INC | 2 | PC | 12 months
51 | Injection port | Spare Part | OEM | 069872 | THERMO SCIENTIFIC | 1 | PC | 12 months
52 | Peltier Chiller | Spare Part | OEM | 0440 3519 | Testo | 1 | PC | 12 months
53 | Concentrator column TAC-ULP1 | Spare Part | OEM | 061400 | THERMO SCIENTIFIC | 1 | PC | 12 months
54 | Secondary Safety Window | Spare Part | OEM | 54-LX6879-2 | HITACHI | 8 | PC | 12 months
55 | Electrode holder | Spare Part | OEM | 0IB00001 | DKK TOA | 2 | PC | 12 months
56 | Electrode attachment (G) | Spare Part | OEM | 0IB00004 | DKK TOA | 5 | PC | 12 months
57 | Electrode attachment (J) | Spare Part | OEM | 0IB00005 | DKK TOA | 5 | PC | 12 months
58 | Electrode attachment (DP) | Spare Part | OEM | 0IB00007 | DKK TOA | 5 | PC | 12 months
59 | Electrode attachment (ION) | Spare Part | OEM | 0IB00006 | DKK TOA | 5 | PC | 12 months
60 | PICKUP CABLE,AC210109A,N/A,N/A,CFR ENGINES INC | Spare Part | OEM | AC210109A | CFR ENGINES INC | 1 | PC | 12 months
61 | WALNUT SHELL,110899A,CFR ENGINES INC | Consumable | OEM | 110899A | CFR ENGINES INC | 1 | BAG | 12 months
62 | FILTER BAG,G-824-8,CFR ENGINES INC | Consumable | OEM | G-824-8 | CFR ENGINES INC | 1 | Pack | 12 months
63 | POWER SUPPLY BOARD,10006522,N/A,N/A,HITACHI | Spare Part | OEM | 10006522 | HITACHI | 1 | PC | 12 months
64 | TOP HOUSING ASSY,9599000,HACH | Spare Part | OEM | 9599000 | Hach | 1 | PC | 12 months
65 | TUBE, TUBING KIT - 8-PORT FIA VALVE, MANU: OI ANALYTICAL, PART#: 330398 | Spare Part | OEM | 330398 | OI ANALYTICAL | 1 | PC | 12 months
66 | AUTODILUTOR SYRINGE 5000 µL, 332822,OI ANALYTICAL | Spare Part | OEM | 332822 | OI ANALYTICAL | 1 | PC | 12 months
67 | LAMP, UV LAMP 312 NM USE FOR FS3700, P/N: A001682, MANUF: OI ANALYTICAL | Spare Part | OEM | A001682 | OI ANALYTICAL | 1 | PC | 12 months
68 | Temperature sensor, Pt100 | Spare Part | OEM | 106616 | ANTON PAAR | 1 | PC | 12 months
69 | DRY POINT SENSOR, 10661, PE-DAP-049, ANTONPAAR DRY POINT SENSOR, 106631, PE-AP-049, MANU: ANONPAAR,OEM | Spare Part | OEM | 106631 | ANTON PAAR | 1 | PC | 12 months
70 | VALVE, WATER VALVE, P/N: 3497600 & 3781200, MANUF: IKA | Spare Part | OEM | 3497600&3781200 | IKA | 1 | SET | 12 months
71 | SPRING, 7163600, PE-CM-061, IKA | Spare Part | OEM | 7163600 | IKA | 1 | PC | 12 months
72 | WATER PROTECT, C6000.1, 20014031, PE-CM-061, IKA | Spare Part | OEM | 20014031 | IKA | 1 | PC | 12 months
73 | VALVE, OXY DEGAS VALVE, P/N: 3856700, MANUF: IKA | Spare Part | OEM | 3856700 | IKA | 1 | PC | 12 months
74 | THERMOMETER, GLASS THERMOMETER, ASTM 127C, 1202127, PE-VT-037, LUDWWIG-GERMANY | Spare Part | OEM | 1202127 | LUDWWIG | 1 | PC | 12 months
75 | PISTON S50C, 2100327, TOYO SEIKI | Spare Part | OEM | 2100327 | Toyo Seiki | 2 | PC | 12 months
76 | SIEVE, STANDARD SIEVE 300UM -ASTM E11, MAT.: SS, DIMENSION: D8 * H2 INCH, P/N: 60.150.000300, RETSCH | Spare Part | OEM | 60.150.000300 | Retsch | 1 | PC | 12 months
77 | SIEVE, STANDARD SIEVE 600UM -ASTM E11, MAT.: SS, DIMENSION: D8 * H2 INCH, P/N: 60.150.000600, RETSCH | Spare Part | OEM | 60.150.000600 | Retsch | 1 | PC | 12 months
78 | RESISTANCE HEATER WIRE D1.2 MM, MATERIAL CR20NI80, D16 * L1500 | Spare Part | Generic |  |  | 2 | PC | 12 months
79 | CERAMIC TUBE OD13 * ID6 * L300 MM | Spare Part | Generic |  |  | 12 | PC | 12 months
80 | ADAPTOR, ADAPTOR INPUT 110-230VAC, OUTPUT 24VDC-6.67A, P/N: GST160A24-R7B, MANU: MEAN WELL | Spare Part | OEM | GST160A24-R7B | Mean Well | 1 | PC | 12 months
81 | CELL, FLOW CELL FOR WET MODE, MATERIAL: QUARTZ, P/N: 3200090236, MANU: HORIBA | Spare Part | OEM | 3200090236 | Horiba | 1 | PC | 12 months
82 | SELF STICKING XRF SECONDARY FILM,3.6 UM MYLAR,D 35MM, 25PCS/ BOX,P/N: 2020R35M3.6,MANU: CHEMPLEX | Consumable | OEM | 2020R35M3.6 | Chemplex | 1 | BOX | 12 months
83 | EXHAUST VALVE FOR VACUUM PUMP OIL P165D, MANU: SATOVAC | Spare Part | OEM |  | SatoVac | 1 | PC | 12 months
84 | DIAL GAUGE 0-50MM, DIVISION 0.01MM, P/N: 3058A-10, MANU: MITUTOYO | Spare Part | OEM | 3058A-10 | Mitutoyo | 1 | PC | 12 months
85 | Pump cho SCD Shimadzu | Spare Part | OEM | MZ 2C NT +2AK | Vacuubrand | 1 | PC | 12 months
86 | Pump cho SCD Wasson | Spare Part | OEM | RV5 | EDWARDS | 1 | PC | 12 months
87 | OPTIDIST FLASK HEATER, PN: 3203-400-001M, PAC | Spare Part | OEM | 3203-400-001M | PAC | 3 | PC | 12 months
88 | SENSOR CABLE, PN: 139244, ANTON PAAR | Spare Part | OEM | 139244 | ANTON PAAR | 1 | PC | 12 months
89 | FIA PRECISION BORE COLUMN, PN: DCP-1319-014, DC SCIENTIFIC | Spare Part | OEM | DCP-1319-014 | DC SCIENTIFIC | 2 | PC | 12 months
90 | UV LIGHT ASSEMBLY, PN: DCP-1319-029, DC SCIENTIFIC | Spare Part | OEM | DCP-1319-029 | DC SCIENTIFIC | 1 | PC | 12 months
91 | HARDNESS (ULR) REAGENT SET, SOLUTION PILLOWS, 2603100, HACH, SDS& COA | Chemical | OEM | 2603100 | HACH | 10 | SET | 12 months
92 | SAMPLE CELL, 1-INCH SQUARE, POLYSTYRENE, 25ML WITH CAPS, 2410212, HACH, CO/CQ OR EQUIVALENT | Spare Part | OEM | 2410212 | HACH | 12 | PC | 12 months
93 | METHYL PURPLE INDICATOR IN WATER, ANALYTICAL GRADE | Chemical | Generic |  |  | 500 | ML | 12 months
94 | ELECTRONIC CONTROL BOARD N, PN: 151663, ANTON PAAR | Spare Part | OEM | 151663 | ANTON PAAR | 1 | PC | 12 months
95 | CONNECTOR CABLE IGNITION INNER VESSEL, PN: 4404100, IKA | Spare Part | OEM | 4404100 | IKA | 1 | PC | 12 months
96 | PUMP, MANUF: IKA, P/N: 3969500 | Spare Part | OEM | 3969500 | IKA | 1 | PC | 12 months
97 | TEMPERATURE SENSOR T1, PN: 4121700, IKA | Spare Part | OEM | 4121700 | IKA | 1 | PC | 12 months
98 | TEMPERATURE SENSOR T2, PN: 20009296, IKA | Spare Part | OEM | 20009296 | IKA | 1 | PC | 12 months
99 | TEMPERATURE SENSOR T3, PN: 20009295, IKA | Spare Part | OEM | 20009295 | IKA | 1 | PC | 12 months
100 | DRIVE, PN: 4094400, IKA | Spare Part | OEM | 4094400 | IKA | 1 | PC | 12 months
101 | OXY FILL VALVE, PN: 3780600, IKA | Spare Part | OEM | 3780600 | IKA | 1 | PC | 12 months
102 | SOLID STATE RELAY, PN: 7089400, IKA | Spare Part | OEM | 7089400 | IKA | 1 | PC | 12 months
103 | HEATER, PN: 20000099, IKA | Spare Part | OEM | 20000099 | IKA | 1 | PC | 12 months
104 | VACUUM PUMP, PN: PU5197-N84.3, KNF | Spare Part | OEM | PU5197-N84.3 | KNF | 1 | PC | 12 months
105 | VALVE, CHECK, S/S, 10 PSI 1/8'' TUBE CH SERIES, PN: 101869, ALCOR | Spare Part | OEM | 101869 | ALCOR | 1 | PC | 12 months
106 | VALVE, CHECK, S/S, 5 PSI 1/8'' TUBE CH SERIES, PN: 21084, ALCOR | Spare Part | OEM | 21084 | ALCOR | 1 | PC | 12 months
107 | OXY CONTROL VALVE, PN: 200012120, IKA | Spare Part | OEM | 200012120 | IKA | 1 | PC | 12 months
108 | COPPER RUNNING SAMPLER 1.5L EQUIPPED THE REDUCING FLOW CAPWITH ROPE 25M | Spare Part | Generic |  |  | 5 | SET | 12 months
109 | INSERT, VIAL INSERT, GLASS OR PLASTIC, FOR VIAL 2ML, 100PCS/PAC | Consumable | OEM | IPB250 | FINETECH | 5 | PAC | 12 months
110 | LAB CHEM, UOP METHOD 720 STANDARD (5 X1 ML), N/A, 1 ML, 10-13, UOP720 | Chemical | OEM | UOP-M-720-PAK | Accustandard | 1 | BOX | 12 months
111 | SET OF DIAPHRAGMS AND VALVES FOR VACUUM PUMP, P/N: 20696869, MANU: VACUUMBRAND | Spare Part | OEM | 20696869 | Vacuubrand | 2 | SET | 12 months
112 | POLYPROPYLENE BOTTLE 100 ML | Consumable | Generic |  |  | 100 | PC | 12 months
113 | PRECISION THERMOMETER SIMILAR TO ASTM 112C, P/N:1202112S, MANU: LUGWIG | Spare Part | OEM | 1202112S | Lugwig | 1 | PC | 12 months
114 | LAMP, P/N: 228-32445-41, MANU: SHIMADZU | Spare Part | OEM | 228-32445-41 | SHIMADZU | 1 | PC | 12 months
115 | LID FOR TEST VESSEL GLASS, (MADE OF BOROSILLICATE GLASS), ASTM D525, 106381, ANTON PAAR | Consumable | OEM | 106381 | ANTON PAAR | 4 | PC | 12 months
116 | FAN SPEED CONTROLLER SET 220VAC - 1000W | Spare Part | Generic |  |  | 2 | SET | 12 months
117 | AIR PUMP ASSEMBLY, FUEL FLUSH, 24VDC, P/N: 102487, MANU: PAC | Spare Part | OEM | 102487 | PAC | 1 | PC | 12 months
118 | THERMOMETER, ASTM 22C/IP24C, 0.1DEG C, +95 TO +103 | Spare Part | Generic |  |  | 1 | PC | 12 months
119 | CHEM, CESIUM STANDARD SOLUTION FOR ICP, AAS, 10 ,000 PPM IN NITRIC ACID | Chemical | Generic |  |  | 1000 | ML | 12 months
120 | VALVE, 1-PIECE 40G SERIES BALL VALVE, TUBE FITTING 0.25IN O.D, SUS316, SS-43GF4, SWAGELOK | Spare Part | OEM | SS-43GF4 | SWAGELOK | 1 | PC | 12 months
121 | Filling hose for N2, O2, Ar, Air, CO2 manifold | Spare Part | OEM | PH-5 for N2, O2, Ar, Air, CO2 | CHIYODA | 2 | PC | 12 months
122 | TUBING, TUBING SULFINERT, 0.030" ID X 1/16" OD, 100FT/ ROLL, PART NUMBER: 29232, MANUFACTURE: RESTEK | Spare Part | OEM | 29232 | RESTEK | 1 | RLL | 12 months
123 | NPD BEAD ASSY | Spare Part | OEM | 68087 | Wasson-ECE | 2 | PC | 12 months
124 | Stainless-Steel Tubing, Sulfinert Treated, 0.085" ID x 1/8" OD, 0.020" Wall, 100 ft Roll | Spare Part | OEM | 29248 | RESTEK | 1 | RLL | 12 months
125 | FERRULE, 0.25IN GRAPHITE 10/PK, S0360, GC, WASSON | Spare Part | OEM | S0360 | Wasson-ECE | 1 | PAC | 12 months
126 | QUARTZ TUBE, LARGE, FPD, 1PC, 221-46552, GC-GCH-002, SHIMADZU | Spare Part | OEM | 221-46552 | SHIMADZU | 1 | PC | 12 months
127 | LENS, 01LPX041,221-48575, SHIMADZU | Spare Part | OEM | 221-48575 | SHIMADZU | 1 | PC | 12 months
128 | ROUND CORNER PVC LABEL PRINTING DECAL PAPER, 1 STAMP 60MM X 40MM / ROW, 25M / ROLL, CORE: 30MM | Consumable | Generic |  |  | 30 | RLL | 12 months
129 | 9MM PP BLUE SCREW CAP, 100 PCS/PACK, P/N: SC9F9F, MANU: FINETECH | Consumable | OEM | Finetech | SC9F9F | 20 | PAC | 12 months
130 | Detector, Sdd Detector, Determine Sulfur Compound (A-40), Manu: Hitachi, Pn: | Spare Part | OEM | 54-6006639-CS | HITACHI | 1 | PC | 12 months
131 | TUBE, DRAIN TUBE, PN: 206-77642, MANUF: SHIMADZU, FOR AAS | Spare Part | OEM | 206-77642 | SHIMADZU | 1 | PC | 12 months
132 | REAGENT BOTTLE ASSY, HCI, 206-58792-40, SHIMADZU | Spare Part | OEM | 206-58792-40 | SHIMADZU | 1 | PC | 12 months
133 | SOCKET ASSY, PN: 206-51030-91, MANU: SHIMADZU | Spare Part | OEM | 206-51030-91 | SHIMADZU | 1 | PC | 12 months
134 | Graphite cap | Spare Part | OEM | 206-50602 | SHIMADZU | 1 | PC | 12 months
135 | Burener socket Mx | Spare Part | OEM | 206-77297 | SHIMADZU | 1 | PC | 12 months
136 | Drain ASSY | Spare Part | OEM | 206-77413-41 | SHIMADZU | 1 | PC | 12 months
137 | POWER SUPPLY BOARD,NSX1712340,NITTOSEIKO ANALYTECH | Spare Part | OEM | NSX1712340 | NITTOSEIKO ANALYTECH | 1 | PC | 12 months
138 | Ammonia combination electrode | Spare Part | OEM | AE-2041 | DKK TOA | 1 | PC | 12 months
139 | Carbon dioxide combination electrode | Spare Part | OEM | CE-2041 | DKK TOA | 1 | PC | 12 months
140 | DEODORIZER PUMP KIT FOR MCD-210, NSX1104349, WA-CLAC-012, MITSUBISHI CHEMICAL ANALYTECH | Spare Part | OEM | NSX1104349 | NITTOSEIKO ANALYTECH | 1 | KIT | 12 months
141 | CHEM, UOP 621 CALIBRATION STANDARD. CONCENTRATION: % Mass: Pentane: 0.25. Benzene: 28. P-Xylene: 15. 1,2,4,5-Tetramethylbenzene: 1, Naphthalene: 3. 1,3-Diisopropylbenzene: 0.05. Toluene: 51 | Chemical | Generic |  |  | 1 | Box | 12 months
142 | COVER, P/N: 12-05955-20, KYOTO ELECTRONICS | Spare Part | OEM | 12-05955-20 | Kyoto Electronics | 1 | PC | 12 months
143 | CELL, ASIQ CELL P0, GLASS, MANUF: ANTONPAAR, P/N: 193928 | Spare Part | OEM | 193928 | ANTON PAAR | 1 | PC | 12 months
144 | CELL, TYPE A LONG CELL 9MM NO BULB, GLASS, MANUF: ANTONPAAR, P/N: 193922 | Spare Part | OEM | 193922 | ANTON PAAR | 1 | PC | 12 months
145 | PFEIFFER MAINTENANCE KIT, FOR DUO 1,6/3 | Spare Part | OEM | PK E01 040-T | Pfeiffer vacuum | 1 | SET | 12 months
146 | KEY PAD,2006920,KYOTO ELECTRONICS | Spare Part | OEM | 2006920 | Kyoto Electronics | 1 | PC | 12 months
147 | FLOW CONTROLLER,625-603-477,LECO | Spare Part | OEM | 625-603-477 | Leco | 1 | PC | 12 months
148 | SILICA FILTER (QR-100/24MM), 100/PK, PN: QR-100, MANU: ADVANTEC, A-067 | Consumable | OEM | QR-100 | ADVANTEC | 2 | BOX | 12 months
149 | PLATE, OPTIDIST HEATER BASE PLATE 38MM CENTRAL OPENING, MANUF: PAC, P/N: 3002-004-1014 | Spare Part | OEM | 3002-004-1014 | PAC | 2 | PC | 12 months
150 | PLATE, OPTIDIST HEATER BASE PLATE 50MM CENTRAL OPENING, MANUF: PAC, P/N: 3002-004-1013 | Spare Part | OEM | 3002-004-1013 | PAC | 2 | PC | 12 months
151 | CONDENSATE TRAP BOTTLE, N-1085-9414-403, WA-HGA-013, NIPPON INSTRUMENTS | Spare Part | OEM | N-1085-9414-403 | Nippon Instruments | 1 | PC | 12 months
152 | SCREW, SWIVEL, 10-32 X 1/2, S/S, 101831, PE-TS-020, ALCOR | Spare Part | OEM | 101831 | ALCOR | 1 | PC | 12 months
153 | SCREW, SWIVEL, 10-24 X 3/4, S/S, 101821, PE-TS-020, ALCOR | Spare Part | OEM | 101821 | ALCOR | 1 | PC | 12 months
154 | SCREW KIT, SOCKET HEAD, JFTOT, 102841, PE-TS-020, ALCOR | Spare Part | OEM | 102841 | ALCOR | 1 | SET | 12 months
155 | O-RING,211196C,CFR ENGINES INC | Spare Part | OEM | 211196C | CFR ENGINES INC | 4 | PC | 12 months
156 | ADJUSTING LOCK SCREW,109027,CFR ENGINES INC | Spare Part | OEM | 109027 | CFR ENGINES INC | 1 | PC | 12 months
157 | O-RING,118013P,CFR ENGINES INC | Spare Part | OEM | 118013P | CFR ENGINES INC | 2 | PC | 12 months
158 | COLUMN CLEANING TUBE, PE-APT-018, YOSHIDA KAGAKU KIKAI | Spare Part | OEM | S-A-027-01-02 | YOSHIDA Kagaku Kikai | 1 | PC | 12 months
159 | Fuse Ceramic 10A-250V | Spare Part | OEM | 69850B | CFR ENGINES INC | 1 | PC | 12 months
160 | FUSE HOLDER | Spare Part | OEM | 60093840 | FOSS | 2 | PC | 12 months
161 | OIL HEATER, B3109A,CFR ENGINES INC | Spare Part | OEM | B3109A | CFR ENGINES INC | 1 | PC | 12 months
162 | LAB CON, PRESTERILIZED 10-ML PIPETS PK/50, PN 2092628, PACKING 50, MANU: HACH | Consumable | OEM | 2092628 | HACH | 25 | PAC | 12 months
163 | LAURYL TRYPTOSE WITH MUG BROTH TUBES, PART NO: 2101415, MANU: HACH | Chemical | OEM | 2101415 | HACH | 40 | PAC | 12 months
164 | BRILLIANT GREEN BILE BROTH TUBES, PART NO 32215, MANU HACH | Chemical | OEM | 32215 | HACH | 30 | PAC | 12 months
165 | DILUTION WATER, BFR 99ML ,PART N0: 1430598, MANU HACH | Chemical | OEM | 1430598 | HACH | 7 | PAC | 12 months
166 | DISSOLVED OXYGEN ELECTRODE, OE-473BA, DKK-TOA | Spare Part | OEM | OE-473BA | DKK TOA | 1 | PC | 12 months
167 | ELECTROLYTE FOR DISSOLVED OXYGEN ELECTRODE R-12, 143H008, DKK-TOA | Spare Part | OEM | 143H008 | DKK TOA | 1 | PC | 12 months
168 | MEMBRANE SET FOR OE-473BA (3PCS/SET), 0CC00022, DKK-TOA | Consumable | OEM | 0CC00022 | DKK TOA | 1 | SET | 12 months
169 | DISTILLATION GLASS, C5214,ENVIRONMENTAL EXPRESS | Spare Part | OEM | C5214 | ENVIRONMENTAL EXPRESS | 1 | SET | 12 months
170 | HEATER, CERAMIC HOTPLATE, MANUF: COLE-PARMER, MODEL: CB500 | Spare Part | OEM | CB500 | STUART (COLE-PARMER) | 1 | PC | 12 months
171 | GLASS ELECTRODE, GTPH1B, NITTOSEIKO ANALYTECH | Spare Part | OEM | GTPH1B | NITTOSEIKO ANALYTECH | 1 | PC | 12 months
172 | SILVER DETECTION ELECTRODE, GTAG1B, NITTOSEIKO ANALYTEC | Spare Part | OEM | GTAG1B | NITTOSEIKO ANALYTECH | 1 | PC | 12 months
173 | DISTILLATION FLASK, 2 NECKS, ROUND BOTTOM, GLASS, 500ML, JOINT SIZE 24/40 | Consumable | Generic |  |  | 2 | pc | 12 months
174 | CONDENSER, DIMROTH, GLASS, LENGTH:36-41 CM UPPER:19/38 LOWER:24/40, QA/QC DOCUMENT REQUIRED:CO,CQ | Consumable | Generic |  |  | 1 | PC | 12 months
175 | COOL ON COLUMN INLET HEATER SENSOR, G1545-60520, PAC | Spare Part | OEM | G1545-60520 | PAC | 1 | PC | 12 months
176 | ROTOR SEAL, C22-314,VICI | Spare Part | OEM | C22-314 | VICI | 2 | PC | 12 months
177 | VACUUM PUMP, RV8, EDWARDS | Spare Part | OEM | RV8 | EDWARDS | 1 | PC | 12 months
178 | EXTRACTION THIMBLE (PACK OF 5 PCS), 21300-001, STANHOPE-SETA, CO/CQ OR EQUIVALENT | Consumable | OEM | 21300-001 | STANHOPE SETA | 10 | PC | 12 months
179 | CHEM, MICROBMONITOR2, ECHA16/MM/02, ECHA, SDS& COA | Chemical | OEM | ECHA16/MM/02 | ECHA | 10 | KIT | 12 months
180 | CASTER WHEEL TPU 75X25MM WITH THREADED STEM M12 X 35 | Spare Part | Generic |  |  | 40 | PC | 12 months
181 | CHEMICAL,OEM, SYNTHETIC CARBON Arp. 1% C STANDARD,502-696,LECO | Chemical | OEM | 502-696 | LECO | 50 | G | 12 months
182 | CONDENSER TUBE COMPLETE ADU4 + ADU5, 139583, ANTON PAAR | Spare Part | OEM | 139583 | ANTON PAAR | 1 | PC | 12 months
183 | ELECTRONIC EXPANSION VALVE,SXK-07, NA2SO3 FOR ZERO ADJUSTMENT, IKA | Consumable | Generic |  |  | 1 | PC | 12 months
184 | LAB CHEM, METAL TRAP ANTIMONY 200/GR, CAS/SPEC , PN 769-608-HAZ, PACKING 200G, CLS 10-13, MANU LECO | Chemical | OEM | 769-608-HAZ | LECO | 200 | G | 12 months